## Resolution and Bias Voltage
[7 empty] | 2.0kV | [6 empty] | LSF Reciporacal bias
[7 empty] | EXT | PARAMETER |  |  | STEP | FIRST |  | Chi2 | 651.361 | 108.5602
1/V | voltage | energy resolution | error | centroid | FWHM |  | NO. | NAME | VALUE | ERROR | SIZE | DERIVATIVE |  | NDf | 6
0.625 | 1.6 | 0.0049234 | 1.4407e-05 | 5612 | 27.63 |  | 1 | Centroid | 5644.21 | 0.035143 | 6.8306e-06 | 0.037379 |  | p0 | 0.0014322 | 2.4935e-05
0.55556 | 1.8 | 0.0044923 | 1.4402e-05 | 5614 | 25.22 |  | 2 | FWHM | 21.4902 | 0.080852 | 3.2498e-05 | -0.010228 |  | p1 | 0.005374 | 5.3805e-05
0.5 | 2 | 0.0038075 | 1.4325e-05 | 5644.21 | 21.4902 | 0.080852 | 3 | Counts | 69620.2 | 264.962 | 0.000358 | 0.023113 |  | LSF BetterReciporacal bias |  |  | LSF Quadratic Recip V w/ outliers
0.45455 | 2.2 | 0.0038545 | 1.4448e-05 | 5596 | 21.57 |  | 4 | Intercept | 195.354 | 6.452 | 0.0063102 | 0.00025087 |  | Chi2 | 98.5912 | 19.7182 | Chi2 | 323.362 | 64.6724
0.41667 | 2.4 | 0.0036591 | 1.4446e-05 | 5597 | 20.48 |  | 5 | Slope | -0.032902 | 0.0011473 | 1.122e-06 | 1.3878 |  | NDf | 5 |  | NDf | 5
0.38462 | 2.6 | 0.0034983 | 1.4446e-05 | 5597 | 19.58 | [8 empty] | c | 0.0013698 | 2.5075e-05 | p0 | 0.0039427 | 0.00014084
0.35714 | 2.8 | 0.0033708 | 1.4443e-05 | 5598 | 18.87 | [8 empty] | m | 0.005614 | 5.4764e-05 | p1 | -0.0056377 | 0.0006104
0.33333 | 3 | 0.0033441 | 1.4443e-05 | 5598 | 18.72 | [8 empty] | LSF Quadratic Recip V |  |  | p2 | 0.01157 | 0.00063885
[14 empty] | Chi2 | 20.7457 | 5.1864
[14 empty] | NDf | 4
[14 empty] | c | 0.002737 | 0.00015697
[14 empty] | b | -0.00037688 | 0.00068121
[14 empty] | a | 0.0062493 | 0.0007083
[14 empty] | 1/V | Linear fit | Quad Fit
[14 empty] | 0 | 0.0013698 | 0.002737
[14 empty] | 0.1 | 0.0019312 | 0.0027618
[14 empty] | 0.2 | 0.0024926 | 0.0029116
[14 empty] | 0.3 | 0.003054 | 0.0031864
[14 empty] | 0.4 | 0.0036154 | 0.0035862
[14 empty] | 0.5 | 0.0041768 | 0.0041109
[14 empty] | 0.6 | 0.0047382 | 0.0047606
[14 empty] | 0.7 | 0.0052996 | 0.0055354
[14 empty] | 3.3333e-06 |  | 0.002737
At VinfP, Energy resolution (linear) approaches 0.00137
At VinfP, Energy resolution (quad) approaches 0.002737
[6 empty] | R | fwhm/Cen |  |  |  | 0.625 | 0.0049234 | 1.4407e-05
[6 empty] | dR/dC | ….-fwhm/cen^2 |  |  |  | 0.55556 | 0.0044923 | 1.4402e-05
[6 empty] | dR/dF | 1/Cen |  |  |  | 0.5 | 0.0038075 | 1.4325e-05
[11 empty] | 0.45455 | 0.0038545 | 1.4448e-05
[11 empty] | 0.41667 | 0.0036591 | 1.4446e-05
[11 empty] | 0.38462 | 0.0034983 | 1.4446e-05
[11 empty] | 0.35714 | 0.0033708 | 1.4443e-05
[11 empty] | 0.33333 | 0.0033441 | 1.4443e-05

## Elevated Buffit Week 2
Cs137 | [5 empty] | NEW
NO. | NAME | VALUE | ERROR | SIZE | DERIVATIVE | NO. | NAME | VALUE | ERROR | SIZE | DERIVATIVE |  | Am241 | 60jeV
1 | Centroid | 5643.13 | 0.02688 | 3.0818e-06 | -0.010587 | 1 | Centroid | 5630.89 | 0.028344 | 4.0166e-06 | -0.48407 |  | NO. | NAME | VALUE | ERROR | SIZE | DERIVATIVE
2 | FWHM | 17.3385 | 0.063669 | 2.4894e-05 | 0.0039311 | 2 | FWHM | 18.1712 | 0.067082 | 2.8091e-05 | 0.042561 |  | 1 | Centroid | 492.441 | 0.011725 | 2.5662e-06 | -1.1053
3 | Counts | 77886.5 | 279.501 | 0.00039783 | 0.0020747 | 3 | Counts | 76421.3 | 276.98 | 0.00040697 | -0.0092605 |  | 2 | FWHM | 9.4036 | 0.022589 | 1.7695e-05 | 0.6671
4 | Intercept | 84.4819 | 1.9674 | 0.0034182 | -6.0533e-07 | 4 | Intercept | 126.028 | 3.1571 | 0.0037403 | -0.00067271 |  | 3 | Counts | 119804 | 346.845 | 0.00044379 | 0.018387
5 | Slope | -0.014016 | 0.00034157 | 5.9344e-07 | -0.0034636 | 5 | Slope | -0.021261 | 0.00054827 | 6.4956e-07 | -3.7765 |  | 4 | Intercept | 68.0809 | 2.1844 | 0.0097328 | -0.00024555
[14 empty] | 5 | Slope | -0.10554 | 0.0037367 | 1.6651e-05 | -0.13598
Co60 | [5 empty] | Co 60
EXT | PARAMETER |  |  | STEP | FIRST | peak1
NO. | NAME | VALUE | ERROR | SIZE | DERIVATIVE | NO. | NAME | VALUE | ERROR | SIZE | DERIVATIVE
1 | 1-Centroid | 10014.7 | 0.35325 | 2.5757e-06 | -0.22251 | 1 | Centroid | 9992.94 | 0.32751 | 1.5838e-05 | -0.0034143
2 | 1-FWHM | 19.2851 | 0.66761 | 1.9217e-05 | -0.031832 | 2 | FWHM | 18.9671 | 0.67581 | 5.202e-05 | -0.00088532
3 | 1-Counts | 694.161 | 27.6121 | 0.00016338 | -0.0023849 | 3 | Counts | 795.8 | 30.1423 | 0.00029833 | -4.7807e-05
4 | 2-Centroid | 11376.2 | 0.34674 | 2.4385e-06 | -0.039711 | 4 | Intercept | 29.4213 | 22.1475 | 0.00059131 | -6.8694e-06
5 | 2-FWHM | 19.2615 | 0.71558 | 2.0867e-05 | 0.015731 | 5 | Slope | -0.0028099 | 0.0022213 | 5.9293e-08 | -0.069199
6 | 2-Counts | 685.812 | 27.6106 | 0.00016261 | 0.0039759 | peak2
7 | Intercept | 1.8495 | 0.88721 | 0.00029823 | -0.00043775 | NO. | NAME | VALUE | ERROR | SIZE | DERIVATIVE
8 | Slope | -6.577e-05 | 8.4956e-05 | 2.8539e-08 | -4.392 | 1 | Centroid | 11350.3 | 0.37146 | 8.075e-06 | -0.35834
[6 empty] | 2 | FWHM | 20.0312 | 0.78502 | 3.667e-05 | -0.012111
Ba133 last 2 peaks | [5 empty] | 3 | Counts | 709.756 | 28.9425 | 0.00031011 | -0.00096404
NO. | NAME | VALUE | ERROR | SIZE | DERIVATIVE | 4 | Intercept | -0.26579 | 14.8878 | 0.00054384 | -0.0063508
1 | 1-Centroid | 3028.14 | 0.037659 | 2.2289e-06 | -0.27145 | 5 | Slope | 0.00012937 | 0.0013205 | 4.8203e-08 | -71.6923
2 | 1-FWHM | 12.4053 | 0.074936 | 1.4667e-05 | -0.0041386
3 | 1-Counts | 20791.1 | 144.571 | 0.00023813 | -0.0015264
4 | 2-Centroid | 3265.6 | 0.10459 | 6.2249e-06 | -0.040476 |  |  | 5630.89 | 0.028344
5 | 2-FWHM | 12.2898 | 0.21241 | 4.1378e-05 | -0.0047005 |  |  | 9992.94 | 0.32751
6 | 2-Counts | 2781.35 | 53.2911 | 0.00011444 | -0.0056489 |  |  | 11350.3 | 0.37146
7 | Intercept | 22.3135 | 1.3751 | 0.0012489 | 0.00025217
8 | Slope | -0.0063454 | 0.00043297 | 3.9316e-07 | 0.79821 | [5 empty] | 3039.29 | 57.1747
[7 empty] | 12.4053 | 0.074936 |  |  | 7429.49 | 87.1725
Ba133 2 before the last 2 | [6 empty] | 12.2898 | 0.21241 |  |  | 20791.1 | 144.571
NO. | NAME | VALUE | ERROR | SIZE | DERIVATIVE |  | 11.3678 | 0.19422 |  |  | 2781.35 | 53.2911
1 | 1-Centroid | 2348.39 | 0.09697 | 5.0568e-06 | 0.62254 |  | 11.7049 | 0.12252
2 | 1-FWHM | 11.3678 | 0.19422 | 3.2957e-05 | 0.062319
3 | 1-Counts | 3039.29 | 57.1747 | 0.00013256 | 0.0085249
4 | 2-Centroid | 2574.19 | 0.061428 | 3.1165e-06 | -0.74394
5 | 2-FWHM | 11.7049 | 0.12252 | 2.0365e-05 | 0.0004205
6 | 2-Counts | 7429.49 | 87.1725 | 0.00016398 | -0.014175
7 | Intercept | 28.3797 | 1.5477 | 0.0014717 | 0.00055089
8 | Slope | -0.0089973 | 0.00061452 | 5.8458e-07 | 1.3558
Eu152 121keV
NO. | NAME | VALUE | ERROR | SIZE | DERIVATIVE
1 | Centroid | 1027.48 | 0.023732 | -1.0439e-08 | 4.1515e-05
2 | FWHM | 9.9805 | 0.048246 | 2.9905e-07 | -2.1442e-05
3 | Counts | 36149.1 | 195.693 | 2.8833e-06 | -8.7805e-05
4 | Intercept | 262.177 | 14.5088 | -0.059026 | -3.2443e-09 | 1027.48 | 0.023732
5 | Slope | -0.18907 | 0.013753 | 5.5985e-05 | -2.9629e-06 | 2076.84 | 0.068874
[6 empty] | 2926.8 | 0.044896
Eu152 244keV | [5 empty] | 6636.27 | 0.14453
NO. | NAME | VALUE | ERROR | SIZE | DERIVATIVE | 8215.1 | 0.16062
1 | Centroid | 2076.84 | 0.068874 | 6.7127e-06 | 1.3068 | 9255.05 | 0.24264
2 | FWHM | 11.0882 | 0.14947 | 2.5271e-05 | -0.037113 | 9479.05 | 0.19329
3 | Counts | 6244.66 | 86.3052 | 0.00010174 | 0.039522 | 12006 | 0.19157
4 | Intercept | 108.804 | 26.9118 | 0.0034986 | 0.001042
5 | Slope | -0.036308 | 0.012848 | 1.6711e-06 | 2.1487
Eu152 344keV
NO. | NAME | VALUE | ERROR | SIZE | DERIVATIVE
1 | Centroid | 2926.8 | 0.044896 | 4.6217e-06 | -0.027183
2 | FWHM | 12.7888 | 0.093997 | 2.1214e-05 | -0.064642
3 | Counts | 16498.5 | 131.658 | 0.0001653 | 0.0077225
4 | Intercept | 155.115 | 12.1081 | 0.0038865 | -0.00013239
5 | Slope | -0.045447 | 0.0040974 | 1.3154e-06 | -0.028356
Eu152 778keV
NO. | NAME | VALUE | ERROR | SIZE | DERIVATIVE
1 | Centroid | 6636.27 | 0.14453 | 9.5073e-06 | -0.077753
2 | FWHM | 17.7083 | 0.31739 | 4.1509e-05 | 0.00085495
3 | Counts | 3558.49 | 63.8453 | 0.00017452 | -0.00061547
4 | Intercept | 106.285 | 15.3534 | 0.0018425 | -0.00019852
5 | Slope | -0.014545 | 0.0023112 | 2.7737e-07 | -1.01
964keV
NO. | NAME | VALUE | ERROR | SIZE | DERIVATIVE
1 | Centroid | 8215.1 | 0.16062 | 5.3848e-06 | 0.007353
2 | FWHM | 19.5596 | 0.362 | 4.6435e-05 | -4.1805e-05
3 | Counts | 3212.76 | 58.656 | 0.00024945 | -0.00010153
4 | Intercept | 29.1374 | 1.5171 | 0.00118 | 0.00010202
5 | Slope | -0.0030048 | 0.00018138 | 1.4109e-07 | 0.85339
1085 1112 keV |  | IGNORE PEAK 2
NO. | NAME | VALUE | ERROR | SIZE | DERIVATIVE
1 | 1-Centroid | 9255.05 | 0.24264 | 9.8498e-06 | 0.0065449
2 | 1-FWHM | 21.7459 | 0.59072 | 6.4342e-05 | -0.0017729
3 | 1-Counts | 2020.67 | 48.4344 | 0.00019991 | 0.002678
4 | 2-Centroid | 9289.3 | 0.61645 | 2.4349e-05 | -0.014133
5 | 2-FWHM | 17.0464 | 1.4286 | 0.0001727 | 0.0018125
6 | 2-Counts | 326.059 | 24.4752 | 0.00020274 | -0.0010822
7 | 3-Centroid | 9479.05 | 0.19329 | 8.093e-06 | -0.00318
8 | 3-FWHM | 20.8214 | 0.40098 | 4.7933e-05 | 0.0013349
9 | 3-Counts | 2708.18 | 54.011 | 0.00020829 | -0.00056991
10 | Intercept | 2.5644 | 2.8536 | 0.0011649 | -0.00032412
11 | Slope | 0.00010506 | 0.0003052 | 1.2458e-07 | -3.0305
1408keV
NO. | NAME | VALUE | ERROR | SIZE | DERIVATIVE
1 | Centroid | 12006 | 0.19157 | 4.2713e-06 | 0.023282
2 | FWHM | 23.2834 | 0.39614 | 2.4951e-05 | 0.0041116
3 | Counts | 3157.9 | 57.1037 | 0.00030896 | 0.00023657
4 | Intercept | 5.1666 | 3.9277 | 0.00060819 | 1.1142e-05
5 | Slope | -0.00031177 | 0.00032736 | 5.069e-08 | 0.13432

## Reso Cali with Energy Week 2
Calibration |  |  |  |  | Excel Fit |  |  | WEIGHTED | LSF linear fit ROUGH calibration
Source | Energy | Channel | Error | Resid | Energy | Channel |  |  | Chi2 | 15230.5 |  |  | Eu152 | [8 empty] | Resolution for HPGe Detector | [16 empty] | Efficiency | [5 empty] | Ω (steradians) | Error | Live time (s) | d (cm) | 5.5 | 0.05
Cs137 | 661.657 | 5643.13 | 0.02688 | 1.5675 | 661.657 | 5641.5625 |  |  | NDf | 5 | error |  | 121.7817 3 | 28.53 % 16 | 0.03475 20 | [6 empty] | Weighted LSF | [16 empty] | Source information |  |  |  |  | (25/1/19) | 0.9823 | 0.025872 | 120 | a (cm) | 3.5 | 0.05
Co60 | 1173.228 | 10014.7 | 0.35325 | -0.23185 | 1173.228 | 10014.9318 |  |  | p0 | -13.9267 | 0.062666 |  | 244.6974 8 | 7.55 % 4 | 0.01847 10 | [6 empty] | Source | Energy (keV) | Channel | Error | FWHM (chn) | Error (chn) | Calibrated Energy (keV) | Error | Calibrated FWHM (keV) | Error | R | Error R | ln(E) | Error ln(E) | ln(R) | error ln(R) |  | Isotope | ID | Activity (Bq) | Error | Date Measured | Time elapsed (y) | Error | Half life (y) | Error | Activity now (Bq) | Error
Co60 | 1332.492 | 11376.2 | 0.34674 | -0.26386 | 1332.492 | 11376.4639 |  |  | p1 | 8.5458 | 0.00011467 |  | 344.2785 12 | 26.59 % 20 | 0.0915 7 | [6 empty] | Cs137 | 661.657 | 5630.89 | 0.028344 | 18.1712 | 0.067082 | 661.5116 | 0.0044754 | 3.8325 | 0.0079463 | 0.0057935 | 1.2012e-05 | 6.4945 | 6.7654e-06 | -5.151 | 0.0020734 |  | 60Co | 1U630 | 6240 | 120 | 2013-11-21 | 4.989 | 0.0013699 | 5.2747 | 0.0004 | 3239.3457 | 62.298
133Ba | 276.3989 | 2348.39 | 0.09697 | 0.36044 | 276.3989 | 2348.0296 | [6 empty] | 778.9045 24 | 12.93 % 8 | 0.1007 7 | [6 empty] | Co60 | 1173.228 | 9988.59 | 0.1025 | 18.9671 | 0.67581 | 1172.1319 | 0.013023 | 3.9258 | 0.079197 | 0.0033492 | 6.7567e-05 | 7.0666 | 1.111e-05 | -5.699 | 0.020174 |  | 133Ba | 1R545 | 45600 | 2190 | 2013-11-21 | 4.989 | 0.0013699 | 10.551 | 0.011 | 32856.6126 | 1578.0248
133Ba | 302.8508 | 2574.19 | 0.061428 | 0.025796 | 302.8508 | 2574.1642 |  |  | Source | Energy | Channel |  | 964.057 5 | 14.51 % 7 | 0.1399 7 | [6 empty] | Co60 | 1332.492 | 11346.9 | 0.11109 | 20.0312 | 0.78502 | 1331.294 | 0.014204 | 4.0504 | 0.091993 | 0.0030425 | 6.9101e-05 | 7.1939 | 1.067e-05 | -5.7951 | 0.022712 |  | 137Cs | 1S684 | 191000 | 7080 | 2013-11-21 | 4.989 | 0.0013699 | 30.08 | 0.09 | 170256.9344 | 6311.3688
133Ba | 356.0129 | 3028.14 | 0.037659 | -0.50168 | 356.0129 | 3028.6417 |  |  | Eu152 | 121.7817 | 1026.7929 | done | 1085.837 10 | 10.11 % 5 | 0.1098 5 |  | Energy | Data | Error | fit | resid | 133Ba | 276.3989 | 2348.39 | 0.09697 | 12.4053 | 0.074936 | 276.8795 | 0.011481 | 3.1569 | 0.0088576 | 0.011402 | 3.1994e-05 | 5.6236 | 4.1464e-05 | -4.474 | 0.0028061 |  | 152Eu | 1D157 | 83200 | 4160 | 2013-11-21 | 4.989 | 0.0013699 | 13.517 | 0.014 | 64419.1539 | 3221.0061
133Ba | 383.8485 | 3265.6 | 0.10459 | -1.0054 | 383.8485 | 3266.6054 |  |  | Eu152 | 244.6974 | 2077.2034 | done | 1112.076 3 | 13.67 % 8 | 0.1520 9 |  | 59.5409 | 492.441 | 0.011725 | 493.594 | -1.153 | 133Ba | 302.8508 | 2574.19 | 0.061428 | 12.2898 | 0.21241 | 303.338 | 0.0074009 | 3.1433 | 0.024916 | 0.010362 | 8.2141e-05 | 5.7148 | 2.4398e-05 | -4.5696 | 0.0079268 |  | 241Am | 1Q598 | 415000 | 20700 | 2013-11-21 | 4.989 | 0.0013699 | 432.6 | 0.6 | 411695.7763 | 20535.1874
[9 empty] | Eu152 | 344.2785 | 2928.2016 | done | 1408.013 3 | 20.87 % 9 | 0.2938 13 |  | 121.7817 | 1027.48 | 0.023732 | 1024.7651 | 2.7149 | 133Ba | 356.0129 | 3028.14 | 0.037659 | 11.3678 | 0.19422 | 356.5303 | 0.0048008 | 3.0353 | 0.022788 | 0.0085134 | 6.3917e-05 | 5.8764 | 1.3465e-05 | -4.7661 | 0.0075077
|  |  | 0 | -13.9267 |  |  |  |  | Eu152 | 778.9045 | 6642.4198 | done |  |  |  |  | 244.6974 | 2076.84 | 0.068874 | 2073.7436 | 3.0964 | 133Ba | 383.8485 | 3265.6 | 0.10459 | 11.7049 | 0.12252 | 384.355 | 0.012415 | 3.0748 | 0.014404 | 0.0079999 | 3.7477e-05 | 5.9516 | 3.23e-05 | -4.8283 | 0.0046847 |  | Source | Energy (keV) | Counts | Error | Count Rate | Error | Branching Ratio | Error | Intrinsic Efficiency | Error | ε intrinsic (%) | Error
|  |  | 200 | 1695.2293 |  |  |  |  | Eu152 | 964.057 | 8224.6923 | done |  |  |  |  | 276.3989 | 2348.39 | 0.09697 | 2344.2883 | 4.1017 | Eu152 | 121.7817 | 1027.48 | 0.023732 | 9.9805 | 0.048246 | 122.0998 | 0.0030577 | 2.8727 | 0.005772 | 0.023528 | 4.7277e-05 | 4.8048 | 2.5043e-05 | -3.7496 | 0.0020094 |  | Cs137 | 661.657 | 76421.3 | 276.98 | 636.8442 | 2.3082 | 0.851 | 0.002 | 0.056229 | 0.0025685 | 5.6229 | 0.25685
|  |  | 500 | 4258.9633 |  |  |  |  | Eu152 | 1085.837 | 9265.3974 | done |  |  |  |  | 302.8508 | 2574.19 | 0.061428 | 2570.0323 | 4.1577 | Eu152 | 244.6974 | 2076.84 | 0.068874 | 11.0882 | 0.14947 | 245.0602 | 0.0082181 | 3.0025 | 0.017553 | 0.012252 | 7.1629e-05 | 5.5015 | 3.3535e-05 | -4.402 | 0.0058462 |  | Co60 | 1173.228 | 795.8 | 30.1423 | 6.6317 | 0.25119 | 0.9985 | 0.0003 | 0.026229 | 0.001311 | 2.6229 | 0.1311
|  |  | 1000 | 8531.8533 |  |  |  |  | Eu152 | 1112.076 | 9489.6301 | done |  |  |  |  | 344.2785 | 2926.8 | 0.044896 | 2923.5817 | 3.2183 | Eu152 | 344.2785 | 2926.8 | 0.044896 | 12.7888 | 0.093997 | 344.6556 | 0.0055773 | 3.2018 | 0.011076 | 0.0092899 | 3.2136e-05 | 5.8425 | 1.6182e-05 | -4.6788 | 0.0034592 |  | Co60 | 1332.492 | 709.756 | 28.9425 | 5.9146 | 0.24119 | 0.99983 | 6e-06 | 0.023362 | 0.0012198 | 2.3362 | 0.12198
|  |  | 1200 | 10241.0093 |  |  |  |  | Eu152 | 1408.013 | 12018.6426 | done |  |  |  |  | 356.0129 | 3028.14 | 0.037659 | 3023.7246 | 4.4154 | Eu152 | 778.9045 | 6636.27 | 0.14453 | 17.7083 | 0.31739 | 779.3185 | 0.017285 | 3.7783 | 0.037209 | 0.0048481 | 4.7746e-05 | 6.6584 | 2.2179e-05 | -5.3292 | 0.0098483 |  | 133Ba | 276.3989 | 3039.29 | 57.1747 | 25.3274 | 0.47646 | 0.0716 | 0.0005 | 0.13773 | 0.0080343 | 13.7727 | 0.80343
|  |  | 1400 | 11950.1653 |  |  |  |  | Am241 | 59.5409 | 494.8967 | done |  |  |  |  | 383.8485 | 3265.6 | 0.10459 | 3261.2772 | 4.3228 | Eu152 | 964.057 | 8215.1 | 0.16062 | 19.5596 | 0.362 | 964.3204 | 0.019282 | 3.9952 | 0.042434 | 0.004143 | 4.4004e-05 | 6.8714 | 1.9996e-05 | -5.4863 | 0.010621 |  | 133Ba | 302.8508 | 7429.49 | 87.1725 | 61.9124 | 0.72644 | 0.1834 | 0.0013 | 0.13144 | 0.0074216 | 13.1438 | 0.74216
[17 empty] | 661.657 | 5630.89 | 0.028344 | 5632.1311 | -1.2411 | Eu152 | 1085.837 | 9255.05 | 0.24264 | 21.7459 | 0.59072 | 1086.1782 | 0.028815 | 4.2514 | 0.069229 | 0.0039141 | 6.3736e-05 | 6.9904 | 2.6529e-05 | -5.5432 | 0.016284 |  | 133Ba | 356.0129 | 20791.1 | 144.571 | 173.2592 | 1.2048 | 0.6205 | 0 | 0.10872 | 0.0060028 | 10.8717 | 0.60028
[17 empty] | 778.9045 | 6636.27 | 0.14453 | 6632.7365 | 3.5335 | Eu152 | 1112.076 | 9479.05 | 0.19329 | 20.8214 | 0.40098 | 1112.4257 | 0.023151 | 4.143 | 0.047 | 0.0037243 | 4.225e-05 | 7.0143 | 2.0811e-05 | -5.5929 | 0.011344 |  | 133Ba | 383.8485 | 2781.35 | 53.2911 | 23.1779 | 0.44409 | 0.0894 | 0.0006 | 0.10094 | 0.0058968 | 10.0943 | 0.58968
[8 empty] | Better calibration | [8 empty] | 964.057 | 8215.1 | 0.16062 | 8212.852 | 2.248 | Eu152 | 1408.013 | 12006 | 0.19157 | 23.2834 | 0.39614 | 1408.525 | 0.023235 | 4.4315 | 0.046433 | 0.0031462 | 3.2966e-05 | 7.2503 | 1.6496e-05 | -5.7616 | 0.010478 |  | Eu152 | 121.7817 | 36149.1 | 195.693 | 301.2425 | 1.6308 | 0.2853 | 0.0016 | 0.20968 | 0.011962 | 20.9683 | 1.1962
[8 empty] | Source | Energy | Channel | Error | Fit | ((C-Fit)/error)^2 | Resid | Parameters |  | 1085.837 | 9255.05 | 0.24264 | 9252.1383 | 2.9117 | Am241 | 59.5409 | 492.441 | 0.011725 | 9.4036 | 0.022589 | 59.4058 | 0.001818 | 2.8051 | 0.0028917 | 0.04722 | 4.8699e-05 | 4.0844 | 3.0604e-05 | -3.0529 | 0.0010313 |  | Eu152 | 244.6974 | 6244.66 | 86.3052 | 52.0388 | 0.71921 | 0.0755 | 0.0004 | 0.13688 | 0.0079963 | 13.6877 | 0.79963
[8 empty] | Cs137 | 661.657 | 5630.89 | 0.028344 | 5632.1311 | 1917.2155 | -1.2411 | a | 8.5145 | 1112.076 | 9479.05 | 0.19329 | 9476.0654 | 2.9846 | [17 empty] | Eu152 | 344.2785 | 16498.5 | 131.658 | 137.4875 | 1.0971 | 0.2659 | 0.002 | 0.10268 | 0.0059111 | 10.2682 | 0.59111
[8 empty] | Co60 | 1173.228 | 9932.78 | 0.086462 | 9997.9445 | 568029.9071 | -65.1645 | c | 0 | 1173.228 | 9988.59 | 0.1025 | 9997.9445 | -9.3545 | LSF w/ high cnts Co 60 | [5 empty] | x |  | y | [8 empty] | Eu152 | 778.9045 | 3558.49 | 63.8453 | 29.6541 | 0.53204 | 0.1293 | 0.0008 | 0.045544 | 0.0027151 | 4.5544 | 0.27151
[8 empty] | Co60 | 1332.492 | 11283.6 | 0.098457 | 11357.1242 | 557662.2694 | -73.5242 | DOF | 14 | 1332.492 | 11346.9 | 0.11109 | 11357.1242 | -10.2242 | Chi2 | 81567.7 | 5826.2643 |  |  |  | Ln(E.) | Error ln(E) | Ln(R.) | error ln(R) | Fit | Residuals | [5 empty] | Eu152 | 964.057 | 3212.76 | 58.656 | 26.773 | 0.4888 | 0.1451 | 0.0007 | 0.036642 | 0.0021833 | 3.6642 | 0.21833
[8 empty] | 133Ba | 276.3989 | 2348.39 | 0.09697 | 2344.2883 | 1789.1295 | 4.1017 | Chi^2 | 1181048.2005 | 1408.013 | 12006 | 0.19157 | 12001.6302 | 4.3698 | NDf | 14 |  |  |  |  | 6.4945 | 6.7654e-06 | -5.151 | 0.0020734 | -5.2068 | 0.055764 | [5 empty] | Eu152 | 1085.837 | 2020.67 | 48.4344 | 16.8389 | 0.40362 | 0.1011 | 0.0005 | 0.033076 | 0.002037 | 3.3076 | 0.2037
[8 empty] | 133Ba | 302.8508 | 2574.19 | 0.061428 | 2570.0323 | 4581.1596 | 4.1577 | Chi^2/DOF | 84360.5858 |  |  | enefrgy | Fit |  | p0 | -14.5358 | 0.0099378 |  |  |  | 7.0666 | 1.111e-05 | -5.699 | 0.020174 | -5.7145 | 0.015491 | [5 empty] | Eu152 | 1112.076 | 2708.18 | 54.011 | 22.5682 | 0.45009 | 0.1367 | 0.0008 | 0.032785 | 0.0019741 | 3.2785 | 0.19741
[8 empty] | 133Ba | 356.0129 | 3028.14 | 0.037659 | 3023.7246 | 13747.2334 | 4.4154 |  |  |  |  | 0 | -14.5358 |  | p1 | 8.5341 | 3.5665e-05 |  |  |  | 7.1939 | 1.067e-05 | -5.7951 | 0.022712 | -5.8275 | 0.032443 | [5 empty] | Eu152 | 1408.013 | 3157.9 | 57.1037 | 26.3158 | 0.47586 | 0.2087 | 0.0009 | 0.025041 | 0.0014897 | 2.5041 | 0.14897
[8 empty] | 133Ba | 383.8485 | 3265.6 | 0.10459 | 3261.2772 | 1708.3754 | 4.3228 | Use LSF one, it's better |  |  |  | 100 | 838.8772 | [7 empty] | 5.6236 | 4.1464e-05 | -4.474 | 0.0028061 | -4.4338 | -0.040252 | [5 empty] | Am241 | 59.5409 | 119804 | 346.845 | 998.3667 | 2.8904 | 0.359 | 0.004 | 0.086414 | 0.0049748 | 8.6414 | 0.49748
[8 empty] | Eu152 | 121.7817 | 1027.48 | 0.023732 | 1024.7651 | 13087.027 | 2.7149 |  |  |  |  | 200 | 1692.2902 |  |  | chn=p1*E+p0 |  |  |  |  | 5.7148 | 2.4398e-05 | -4.5696 | 0.0079268 | -4.5148 | -0.054809
[8 empty] | Eu152 | 244.6974 | 2076.84 | 0.068874 | 2073.7436 | 2021.144 | 3.0964 |  |  |  |  | 300 | 2545.7032 | [7 empty] | 5.8764 | 1.3465e-05 | -4.7661 | 0.0075077 | -4.6582 | -0.10795 | [10 empty] | x | y | dy
[8 empty] | Eu152 | 344.2785 | 2926.8 | 0.044896 | 2923.5817 | 5138.5041 | 3.2183 |  |  |  |  | 400 | 3399.1162 |  | LSF Resolution Fit | [5 empty] | 5.9516 | 3.23e-05 | -4.8283 | 0.0046847 | -4.7249 | -0.10347 | [9 empty] | Source | Energy (keV) | ε intrinsic (%) | Error | Fit | Residuals | Fit NO Cs137 NO Am241 | Residuals | LSF Power Fit Intrinsic Efficiency | [15 empty] | LSF Power Fit NO Cs137 NO Am241
[8 empty] | Eu152 | 778.9045 | 6636.27 | 0.14453 | 6632.7365 | 597.7449 | 3.5335 |  |  |  |  | 500 | 4252.5292 |  | Chi2 | 2950.77 | 210.7693 |  |  |  | 4.8048 | 2.5043e-05 | -3.7496 | 0.0020094 | -3.7071 | -0.042516 | [7 empty] | 0 |  | Am241 | 59.5409 | 8.6414 | 0.49748 | 13.8182 | -5.1768 | 53.0644 | -44.423 | Chi2 | 717 | 51.2143 | [13 empty] | Chi2 | 454.3 | 37.8583
[8 empty] | Eu152 | 964.057 | 8215.1 | 0.16062 | 8212.852 | 195.8948 | 2.248 |  |  |  |  | 600 | 5105.9422 |  | NDf | 14 |  |  |  |  | 5.5015 | 3.3535e-05 | -4.402 | 0.0058462 | -4.3254 | -0.07665 |  | LSF Quadratic Recip V | [7 empty] | Eu152 | 121.7817 | 20.9683 | 1.1962 | 9.7811 | 11.1872 | 26.6016 | -5.6333 | Ndf | 14 | [14 empty] | Ndf | 12
[8 empty] | Eu152 | 1085.837 | 9255.05 | 0.24264 | 9252.1383 | 144.0039 | 2.9117 |  |  |  |  | 700 | 5959.3552 |  | p0 | 0.55757 | 0.0038772 |  |  |  | 5.8425 | 1.6182e-05 | -4.6788 | 0.0034592 | -4.6281 | -0.050735 |  | Chi2 | 20.7457 | 5.1864 | [5 empty] | Eu152 | 244.6974 | 13.6877 | 0.79963 | 6.9832 | 6.7045 | 13.5663 | 0.12135 | Constant | 99.4195 | 7.6979 | [13 empty] | Constant | 5693.15 | 785.5
[8 empty] | Eu152 | 1112.076 | 9479.05 | 0.19329 | 9476.0654 | 238.4259 | 2.9846 |  |  |  |  | 800 | 6812.7682 |  | p1 | -0.88757 | 0.00078192 |  |  |  | 6.6584 | 2.2179e-05 | -5.3292 | 0.0098483 | -5.3522 | 0.023084 |  | NDf | 4 | [6 empty] | 133Ba | 276.3989 | 13.7727 | 0.80343 | 6.5843 | 7.1884 | 12.0616 | 1.7111 | Exponent | -0.48288 | 0.012025 | [13 empty] | Exponent | -1.0966 | 0.021822
[8 empty] | Eu152 | 1408.013 | 12006 | 0.19157 | 12001.6302 | 520.3427 | 4.3698 |  |  |  |  | 900 | 7666.1812 | [7 empty] | 6.8714 | 1.9996e-05 | -5.4863 | 0.010621 | -5.5413 | 0.054963 |  | c | 0.002737 | 0.00015697 | [5 empty] | 133Ba | 302.8508 | 13.1438 | 0.74216 | 6.3 | 6.8438 | 11.0434 | 2.1004 | LSF Power Fit NO Cs137 NO Am241 | [15 empty] | LSF Power Fit No Am241
[8 empty] | Am241 | 59.5409 | 492.441 | 0.011725 | 493.594 | 9669.8233 | -1.153 |  |  |  |  | 1000 | 8519.5942 |  | Fano factor | 0.56334 | bad |  |  |  | 6.9904 | 2.6529e-05 | -5.5432 | 0.016284 | -5.6469 | 0.10374 |  | b | -0.00037688 | 0.00068121 | [5 empty] | Eu152 | 344.2785 | 10.2682 | 0.59111 | 5.9218 | 4.3464 | 9.7582 | 0.51001 | Chi2 | 63.82 | 4.9092 | [13 empty] | Chi^2/ndf | 373.9/12 | 31.1583
[19 empty] | 1100 | 9373.0072 | [7 empty] | 7.0143 | 2.0811e-05 | -5.5929 | 0.011344 | -5.6681 | 0.075239 |  | a | 0.0062493 | 0.0007083 | [5 empty] | 133Ba | 356.0129 | 10.8717 | 0.60028 | 5.8267 | 5.0449 | 9.4476 | 1.424 | Ndf | 13 | [14 empty] | Constant | 5772.34 | 575.175
[19 empty] | 1200 | 10226.4202 | [7 empty] | 7.2503 | 1.6496e-05 | -5.7616 | 0.010478 | -5.8776 | 0.11602 | [9 empty] | 133Ba | 383.8485 | 10.0943 | 0.58968 | 5.6187 | 4.4756 | 8.7856 | 1.3087 | Constant | 2738.61 | 313.518 | [13 empty] | Exponent | -1.0799 | 0.015184
[19 empty] | 1300 | 11079.8332 | [7 empty] | 4.0844 | 3.0604e-05 | -3.0529 | 0.0010313 | -3.0676 | 0.014673 |  |  |  |  | WT^2 ∞ | 7.4912e-06 |  |  |  | Cs137 | 661.657 | 5.6229 | 0.25685 | 4.3197 | 1.3033 | 5.1948 | 0.4281 | Exponent | -0.96502 | 0.017893
[8 empty] | Co60 high counts p1 | [10 empty] | 1400 | 11933.2462 | [15 empty] | ε (eV) | 2.96 | WT^2 | 0.05785 |  |  |  | Eu152 | 778.9045 | 4.5544 | 0.27151 | 3.9924 | 0.56201 | 4.4381 | 0.11632
[8 empty] | NO. | NAME | VALUE | ERROR | SIZE | DERIVATIVE | [5 empty] | 1500 | 12786.6592 | [13 empty] | Actual Energy (keV) | Cali Energy (keV) | Fano Factor F | Error | WD | Error | (WD)^2 | WE^2 |  | Eu152 | 964.057 | 3.6642 | 0.21833 | 3.6018 | 0.062442 | 3.6126 | 0.051592
[8 empty] | 1 | Centroid | 9988.59 | 0.1025 | 5.5129e-06 | 0.21607 | [5 empty] | 1600 | 13640.0722 | [13 empty] | 661.657 | 661.5116 | 0.080695 | 2.1479e-07 | 0.02954 | 0.00020368 | 0.00087259 | 0.056978 |  | Eu152 | 1085.837 | 3.3076 | 0.2037 | 3.4007 | -0.093102 | 3.2208 | 0.086778
[8 empty] | 2 | FWHM | 21.8024 | 0.22206 | 3.3761e-05 | -0.089435 | [20 empty] | 1173.228 | 1165.5923 | 0.064789 | 2.8105e-07 | 0.035135 | 0.00039988 | 0.0012344 | 0.056616 |  | Eu152 | 1112.076 | 3.2785 | 0.19741 | 3.3617 | -0.083198 | 3.1474 | 0.13106
[8 empty] | 3 | Counts | 9693.79 | 99.9462 | 0.00027666 | 0.0026213 | [20 empty] | 1332.492 | 1323.8767 | 0.061669 | 2.5683e-07 | 0.036532 | 0.00039928 | 0.0013346 | 0.056516 |  | Co60 | 1173.228 | 2.6229 | 0.1311 | 3.2759 | -0.65303 | 2.989 | -0.36609
[8 empty] | 4 | Intercept | 93.4473 | 4.0269 | 0.0015855 | 0.0024678 | [20 empty] | 276.3989 | 276.8795 | 0.11309 | 1.8217e-06 | 0.022625 | 0.00095564 | 0.00051187 | 0.057338 |  | Co60 | 1332.492 | 2.3362 | 0.12198 | 3.0806 | -0.74443 | 2.6435 | -0.30728
[8 empty] | 5 | Slope | -0.0088547 | 0.00039968 | 1.5737e-07 | 24.8489 | [20 empty] | 302.8508 | 303.338 | 0.10916 | 1.038e-06 | 0.023266 | 0.00057832 | 0.00054129 | 0.057309 |  | Eu152 | 1408.013 | 2.5041 | 0.14897 | 2.9997 | -0.49565 | 2.5065 | -0.0024664
[8 empty] | Co60 high counts p2 | [25 empty] | 356.0129 | 356.5303 | 0.10254 | 5.4218e-07 | 0.024446 | 0.00033546 | 0.0005976 | 0.057253
[8 empty] | NO. | NAME | VALUE | ERROR | SIZE | DERIVATIVE | [20 empty] | 383.8485 | 384.355 | 0.099594 | 1.2492e-06 | 0.025015 | 0.00082306 | 0.00062574 | 0.057224
[8 empty] | 1 | Centroid | 11346.9 | 0.11109 | 4.1855e-06 | 0.33924 | [20 empty] | 121.7817 | 122.0998 | 0.15533 | 1.5561e-06 | 0.017607 | 0.00044967 | 0.00031002 | 0.05754
[8 empty] | 2 | FWHM | 22.9076 | 0.24511 | 2.6941e-05 | 0.028821 | [20 empty] | 244.6974 | 245.0602 | 0.11857 | 1.5481e-06 | 0.021794 | 0.00074459 | 0.000475 | 0.057375
[8 empty] | 3 | Counts | 8710.68 | 93.9206 | 0.00035554 | -0.0027856 | [20 empty] | 344.2785 | 344.6556 | 0.10389 | 6.5797e-07 | 0.024194 | 0.00039893 | 0.00058533 | 0.057265
[8 empty] | 4 | Intercept | 9.0561 | 3.162 | 0.0009482 | 1.3301e-05 | [20 empty] | 778.9045 | 779.3185 | 0.075728 | 6.5163e-07 | 0.03106 | 0.00070173 | 0.00096472 | 0.056885
[8 empty] | 5 | Slope | -0.00064795 | 0.00028001 | 8.3964e-08 | 0.14636 | [20 empty] | 964.057 | 964.3204 | 0.069728 | 5.4082e-07 | 0.033153 | 0.00067528 | 0.0010991 | 0.056751
[8 empty] | co60 old | [25 empty] | 1085.837 | 1086.1782 | 0.066585 | 6.8486e-07 | 0.034384 | 0.00092914 | 0.0011822 | 0.056668
[8 empty] | 9992.94 | 0.32751 |  |  |  | 9988.59 | 0.1025 | 9932.78 | 0.086462 | [17 empty] | 1112.076 | 1112.4257 | 0.065972 | 5.3242e-07 | 0.034636 | 0.00073424 | 0.0011997 | 0.056651
[8 empty] | 11350.3 | 0.37146 |  |  |  | 11346.9 | 0.11109 | 11283.6 | 0.098457 | [17 empty] | 1408.013 | 1408.525 | 0.060205 | 3.8513e-07 | 0.037232 | 0.00062562 | 0.0013862 | 0.056464 | [12 empty] | Efficiency | [5 empty] | Ω (steradians) | Error | Live time (s) | d (cm) | 0 | 0.05
[34 empty] | 59.5409 | 59.4058 | 0.20536 | 2.6515e-06 | 0.014122 | 0.00044169 | 0.00019942 | 0.057651 | [12 empty] | Source information |  |  |  |  | (25/1/19) | 6.2832 | 0.08976 | 120 | a (cm) | 3.5 | 0.05
[8 empty] | Co 60 high counts 2 (higher deadtime) | [45 empty] | Isotope | ID | Activity (Bq) | Error | Date Measured | Time elapsed (y) | Error | Half life (y) | Error | Activity now (Bq) | Error
[7 empty] | P1 | NO. | NAME | VALUE | ERROR | SIZE | DERIVATIVE | [40 empty] | 60Co | 1U630 | 6240 | 120 | 41599 | 4.989 | 0.0013699 | 5.2747 | 0.0004 | 3239.3457 | 62.298
[8 empty] | 1 | Centroid | 9932.78 | 0.086462 | 6.4805e-08 | 0.0017785 | [31 empty] | Detector Face | [8 empty] | 133Ba | 1R545 | 45600 | 2190 | 41599 | 4.989 | 0.0013699 | 10.551 | 0.011 | 32856.6126 | 1578.0248
[8 empty] | 2 | FWHM | 28.5947 | 0.20355 | -1.2519e-06 | -0.00085007 | [20 empty] | 59.5409 | 0.20536 | 2.6515e-06 |  | Eu152 121kev | [6 empty] | Am241 | [8 empty] | 137Cs | 1S684 | 191000 | 7080 | 41599 | 4.989 | 0.0013699 | 30.08 | 0.09 | 170256.9344 | 6311.3688
[8 empty] | 3 | Counts | 22348.9 | 153.519 | -1.3693e-05 | -0.00019625 | [20 empty] | 121.7817 | 0.15533 | 1.5561e-06 |  | NO. | NAME | VALUE | ERROR | SIZE | DERIVATIVE |  | NO. | NAME | VALUE | ERROR | SIZE | DERIVATIVE |  |  |  | 152Eu | 1D157 | 83200 | 4160 | 41599 | 4.989 | 0.0013699 | 13.517 | 0.014 | 64419.1539 | 3221.0061
[8 empty] | 4 | Intercept | 320.943 | 9.0535 | 0.089625 | 9.7961e-08 | [20 empty] | 244.6974 | 0.11857 | 1.5481e-06 |  | 1 | Centroid | 1027.06 | 0.023732 | 1.0553e-05 | 1.2574 |  | 1 | Centroid | 453.225 | 0.0051662 | 6.0272e-06 | 0.19841 |  |  |  | 241Am | 1Q598 | 415000 | 20700 | 41599 | 4.989 | 0.0013699 | 432.6 | 0.6 | 411695.7763 | 20535.1874
[8 empty] | 5 | Slope | -0.030821 | 0.00089868 | -8.897e-06 | 0.00014888 | [20 empty] | 276.3989 | 0.11309 | 1.8217e-06 |  | 2 | FWHM | 21.0799 | 0.072602 | 7.3755e-05 | 0.12341 |  | 2 | FWHM | 9.2841 | 0.010931 | 1.585e-05 | 0.037469
[34 empty] | 302.8508 | 0.10916 | 1.038e-06 |  | 3 | Counts | 203196 | 478.488 | 0.00023478 | 0.0012253 |  | 3 | Counts | 716221 | 922.351 | 0.00010335 | -0.0015854 |  |  |  | Source | Energy (keV) | Counts | Error | Count Rate | Error | Branching Ratio | Error | Intrinsic Efficiency | Error | ε intrinsic (%) | Error
[7 empty] | P2 | NO. | NAME | VALUE | ERROR | SIZE | DERIVATIVE | [20 empty] | 344.2785 | 0.10389 | 6.5797e-07 |  | 4 | Intercept | 859.498 | 7.4618 | 0.10419 | 4.5358e-05 |  | 4 | Intercept | 20034.4 | 147.246 | 0.19292 | 5.8422e-06 |  |  |  | Cs137 | 661.657 | n/a | n/a | n/a | n/a | 0.851 | 0.002 | n/a | n/a | n/a | n/a |  | LSF Power Fit All
[8 empty] | 1 | Centroid | 11283.6 | 0.098457 | 6.1606e-06 | 2.4034 | [20 empty] | 356.0129 | 0.10254 | 5.4218e-07 |  | 5 | Slope | -0.43146 | 0.0067349 | 9.4246e-05 | 0.047303 |  | 5 | Slope | -38.5693 | 0.30255 | 0.00039762 | 0.0029826 |  |  |  | Co60 | 1173.228 | 6652.04 | 83.6312 | 55.4337 | 0.69693 | 0.9985 | 0.0003 | 0.034277 | 0.00092743 | 3.4277 | 0.092743 |  | Chi^2/ndf | 925.3/13 | 71.1769
[8 empty] | 2 | FWHM | 32.0611 | 0.23317 | 3.4863e-05 | -0.0051491 | [20 empty] | 383.8485 | 0.099594 | 1.2492e-06 |  | 244kev | [6 empty] | Co60 p1 | [8 empty] | Co60 | 1332.492 | 5738.76 | 76.8766 | 47.823 | 0.64064 | 0.99983 | 6e-06 | 0.029531 | 0.00081058 | 2.9531 | 0.081058 |  | Constant | 74.4774 | 5.3449
[8 empty] | 3 | Counts | 20268.7 | 143.326 | 0.00036296 | -0.043337 | [20 empty] | 661.657 | 0.080695 | 2.1479e-07 |  | NO. | NAME | VALUE | ERROR | SIZE | DERIVATIVE |  | NO. | NAME | VALUE | ERROR | SIZE | DERIVATIVE |  |  |  | 133Ba | 276.3989 | 22978.3 | 163.337 | 191.4858 | 1.3611 | 0.0716 | 0.0005 | 0.16279 | 0.0083167 | 16.2791 | 0.83167 |  | Exponent | -0.43386 | 0.010811
[8 empty] | 4 | Intercept | 62.0125 | 3.4808 | 0.0015286 | -0.0028968 | [20 empty] | 778.9045 | 0.075728 | 6.5163e-07 |  | 1 | Centroid | 2076.84 | 0.070198 | 1.2011e-05 | 1.5465 |  | 1 | Centroid | 10009.3 | 0.11833 | 9.9957e-06 | 0.015122 |  |  |  | 133Ba | 302.8508 | 59111.7 | 249.298 | 492.5975 | 2.0775 | 0.1834 | 0.0013 | 0.16349 | 0.0083024 | 16.3493 | 0.83024 |  | LSF Power Fit No Am241
[8 empty] | 5 | Slope | -0.0052221 | 0.00030498 | 1.3394e-07 | -32.9933 | [20 empty] | 964.057 | 0.069728 | 5.4082e-07 |  | 2 | FWHM | 21.9672 | 0.20744 | 7.0141e-05 | -0.50913 |  | 2 | FWHM | 20.8315 | 0.24779 | 3.9994e-05 | 0.0066144 |  |  |  | 133Ba | 356.0129 | 171593 | 418.107 | 1429.9417 | 3.4842 | 0.6205 | 0 | 0.14028 | 0.0070372 | 14.0276 | 0.70372 |  | Chi^2/ndf | 260.2/12 | 21.6833
[34 empty] | 1085.837 | 0.066585 | 6.8486e-07 |  | 3 | Counts | 32528.4 | 219.037 | 0.00012869 | 0.16247 |  | 3 | Counts | 6652.04 | 83.6312 | 0.00027677 | -0.00014828 |  |  |  | 133Ba | 383.8485 | 27448 | 170.474 | 228.7333 | 1.4206 | 0.0894 | 0.0006 | 0.15574 | 0.0079326 | 15.574 | 0.79326 |  | Constant | 1477.4 | 147.046
[34 empty] | 1112.076 | 0.065972 | 5.3242e-07 |  | 4 | Intercept | 342.053 | 14.8175 | 0.027251 | -0.00035786 |  | 4 | Intercept | 142.426 | 14.8945 | 0.00178 | -0.00013562 |  |  |  | Eu152 | 121.7817 | 203196 | 478.488 | 1693.3 | 3.9874 | 0.2853 | 0.0016 | 0.18427 | 0.0096475 | 18.4267 | 0.96475 |  | Exponent | -0.8618 | 0.015069
[34 empty] | 1173.228 | 0.064789 | 2.8105e-07 |  | 5 | Slope | -0.057356 | 0.0071154 | 1.3089e-05 | -0.84463 |  | 5 | Slope | -0.013702 | 0.0014827 | 1.7721e-07 | -0.079557 |  |  |  | Eu152 | 244.6974 | 32528.4 | 219.037 | 271.07 | 1.8253 | 0.0755 | 0.0004 | 0.11147 | 0.0058746 | 11.1468 | 0.58746
[34 empty] | 1332.492 | 0.061669 | 2.5683e-07 |  | 344 kev | [6 empty] | p2 | [8 empty] | Eu152 | 344.2785 | 98187.6 | 335.244 | 818.23 | 2.7937 | 0.2659 | 0.002 | 0.095537 | 0.0050304 | 9.5537 | 0.50304
[34 empty] | 1408.013 | 0.060205 | 3.8513e-07 |  | NO. | NAME | VALUE | ERROR | SIZE | DERIVATIVE |  | NO. | NAME | VALUE | ERROR | SIZE | DERIVATIVE |  |  |  | Eu152 | 778.9045 | 19279 | 172.568 | 160.6583 | 1.4381 | 0.1293 | 0.0008 | 0.038576 | 0.0020495 | 3.8576 | 0.20495
[38 empty] | 1 | Centroid | 2927.47 | 0.039188 | 8.0837e-09 | -2.036 |  | 1 | Centroid | 11369.8 | 0.14042 | 8.906e-06 | -0.0030311 |  |  |  | Eu152 | 964.057 | 20086.4 | 167.8 | 167.3867 | 1.3983 | 0.1451 | 0.0007 | 0.035815 | 0.0018942 | 3.5815 | 0.18942
[38 empty] | 2 | FWHM | 23.9032 | 0.11129 | 1.205e-06 | 1.0599 |  | 2 | FWHM | 22.7959 | 0.2887 | 3.6798e-05 | -0.0007928 |  |  |  | Eu152 | 1085.837 | 14886.4 | 162.825 | 124.0533 | 1.3569 | 0.1011 | 0.0005 | 0.038095 | 0.0020331 | 3.8095 | 0.20331
[38 empty] | 3 | Counts | 98187.6 | 335.244 | -1.0266e-06 | -0.11143 |  | 3 | Counts | 5738.76 | 76.8766 | 0.0003295 | -0.0076771 |  |  |  | Eu152 | 1112.076 | 17902.3 | 162.848 | 149.1858 | 1.3571 | 0.1367 | 0.0008 | 0.033882 | 0.0017996 | 3.3882 | 0.17996
[38 empty] | 4 | Intercept | -305.569 | 0.78837 | -0.0005342 | 0.001844 |  | 4 | Intercept | 63.6749 | 9.1413 | 0.0010903 | 0.00067441 |  |  |  | Eu152 | 1408.013 | 21570.7 | 156.709 | 179.7558 | 1.3059 | 0.2087 | 0.0009 | 0.026741 | 0.0014088 | 2.6741 | 0.14088
[38 empty] | 5 | Slope | 0.17121 | 0.00032197 | 2.8523e-07 | -1.5072 |  | 5 | Slope | -0.0053913 | 0.00080131 | 9.558e-08 | 7.7431 |  |  |  | Am241 | 59.5409 | 716221 | 922.351 | 5968.5083 | 7.6863 | 0.359 | 0.004 | 0.080765 | 0.0042873 | 8.0765 | 0.42873
[38 empty] | 778 | [6 empty] | Cs137
[38 empty] | NO. | NAME | VALUE | ERROR | SIZE | DERIVATIVE |  | NO. | [12 empty] | Residuals
[38 empty] | 1 | Centroid | 6639.2 | 0.11379 | -1.2831e-07 | -0.00052698 |  | Ba133 p1 and 2 | [8 empty] | 59.5409 | 8.9884 | 0.47714 |  |  | Source | Energy (keV) | ε intrinsic (%) | Error | Fit All | Residuals | Fit NO Am241 | Residuals
[38 empty] | 2 | FWHM | 27.6522 | 0.32509 | 3.9034e-07 | -0.0011319 |  | NO. | NAME | VALUE | ERROR | SIZE | DERIVATIVE |  |  |  | 121.7817 | 27.4831 | 1.4389 |  |  | Am241 | 59.5409 | 8.0765 | 0.42873 | 12.6474 | -4.5708 | 43.6485 | -35.572
[38 empty] | 3 | Counts | 19279 | 172.568 | -4.3457e-07 | 0.00014721 |  | 1 | 1-Centroid | 2350.2 | 0.045306 | 7.0883e-06 | -1.5463 |  |  |  | 244.6974 | 16.6253 | 0.87619 |  |  | Eu152 | 121.7817 | 18.4267 | 0.96475 | 9.2719 | 9.1548 | 23.5587 | -5.132
[38 empty] | 4 | Intercept | -46.9932 | 41.0985 | -0.12005 | 9.8453e-09 |  | 2 | 1-FWHM | 14.0239 | 0.10864 | 4.4822e-05 | 0.45092 |  |  |  | 276.3989 | 11.8239 | 0.60405 |  |  | Eu152 | 244.6974 | 11.1468 | 0.58746 | 6.85 | 4.2968 | 12.9118 | -1.765
[38 empty] | 5 | Slope | 0.024205 | 0.0061931 | 1.8093e-05 | 1.3033e-05 |  | 3 | 1-Counts | 22978.3 | 163.337 | 0.00011684 | -0.015671 |  |  |  | 302.8508 | 11.8749 | 0.60301 |  |  | 133Ba | 276.3989 | 16.2791 | 0.83167 | 6.4973 | 9.7818 | 11.625 | 4.6541
[38 empty] | 964 | [6 empty] | 4 | 2-Centroid | 2576.2 | 0.027519 | 3.9355e-06 | -4.1627 |  |  |  | 344.2785 | 14.2492 | 0.75027 |  |  | 133Ba | 302.8508 | 16.3493 | 0.83024 | 6.2447 | 10.1046 | 10.7445 | 5.6049
[38 empty] | NO. | NAME | VALUE | ERROR | SIZE | DERIVATIVE |  | 5 | 2-FWHM | 14.7451 | 0.065602 | 2.6834e-05 | 0.022726 |  |  |  | 356.0129 | 10.1886 | 0.51111 |  |  | Eu152 | 344.2785 | 9.5537 | 0.50304 | 5.9068 | 3.6469 | 9.6205 | -0.066827
[38 empty] | 1 | Centroid | 8219.27 | 0.12986 | -1.2374e-07 | -0.00073516 |  | 6 | 2-Counts | 59111.7 | 249.298 | 0.00013794 | 0.0082597 |  |  |  | 383.8485 | 11.3117 | 0.57615 |  |  | 133Ba | 356.0129 | 14.0276 | 0.70372 | 5.8216 | 8.206 | 9.3466 | 4.681
[38 empty] | 2 | FWHM | 32.5678 | 0.37984 | 7.7138e-06 | -0.0015349 |  | 7 | Intercept | 269.967 | 6.3871 | 0.015057 | 0.00024906 |  |  |  | 778.9045 | 5.7536 | 0.30567 |  |  | 133Ba | 383.8485 | 15.574 | 0.79326 | 5.6345 | 9.9395 | 8.7595 | 6.8145
[38 empty] | 3 | Counts | 20086.4 | 167.8 | 1.4134e-05 | 2.9055e-05 |  | 8 | Slope | -0.075132 | 0.0025334 | 5.9774e-06 | 0.94337 |  |  |  | 964.057 | 5.3418 | 0.28252 |  |  | Eu152 | 778.9045 | 3.8576 | 0.20495 | 4.145 | -0.28733 | 4.7602 | -0.90261
[38 empty] | 4 | Intercept | 225.931 | 30.7351 | -0.63638 | -6.2016e-08 |  | p3 and 4 | [8 empty] | 1085.837 | 5.6819 | 0.30323 |  |  | Eu152 | 964.057 | 3.5815 | 0.18942 | 3.7786 | -0.19711 | 3.961 | -0.37952
[38 empty] | 5 | Slope | -0.018822 | 0.0037157 | 7.6937e-05 | -0.0014994 |  | NO. | NAME | VALUE | ERROR | SIZE | DERIVATIVE |  |  |  | 1112.076 | 5.0535 | 0.26841 |  |  | Eu152 | 1085.837 | 3.8095 | 0.20331 | 3.5886 | 0.22097 | 3.5751 | 0.23444
[38 empty] | 1085 | [6 empty] | 1 | 1-Centroid | 3030.38 | 0.016767 | -3.9704e-08 | -0.0096263 |  |  |  | 1173.228 | 2.4695 | 0.066822 |  |  | Eu152 | 1112.076 | 3.3882 | 0.17996 | 3.5516 | -0.16335 | 3.5023 | -0.11405
[38 empty] | NO. | NAME | VALUE | ERROR | SIZE | DERIVATIVE |  | 2 | 1-FWHM | 15.7587 | 0.040638 | -2.7599e-07 | -0.0058534 |  |  |  | 1332.492 | 2.1276 | 0.058403 |  |  | Co60 | 1173.228 | 3.4277 | 0.092743 | 3.4701 | -0.042389 | 3.3444 | 0.083276
[38 empty] | 1 | 1-Centroid | 9258.41 | 0.1426 | 1.1208e-06 | 0.011287 |  | 3 | 1-Counts | 171593 | 418.107 | -1.7752e-06 | -0.0016798 |  |  |  | 1408.013 | 3.9884 | 0.21012 |  |  | Co60 | 1332.492 | 2.9531 | 0.081058 | 3.2836 | -0.33046 | 2.9969 | -0.043769
[38 empty] | 2 | 1-FWHM | 27.6454 | 0.33326 | -5.8638e-07 | 0.00039915 |  | 4 | 2-Centroid | 3267.94 | 0.043411 | 1.1859e-07 | -0.010218 | [8 empty] | Eu152 | 1408.013 | 2.6741 | 0.14088 | 3.206 | -0.53191 | 2.8579 | -0.18378
[38 empty] | 3 | 1-Counts | 14886.4 | 162.825 | -8.4925e-07 | 0.0002735 |  | 5 | 2-FWHM | 15.8936 | 0.10356 | 6.2076e-07 | -0.0014841
[38 empty] | 4 | 2-Centroid | 9294.16 | 0.49264 | 6.9548e-07 | -0.0028708 |  | 6 | 2-Counts | 27448 | 170.474 | 1.8658e-06 | 0.004194
[38 empty] | 5 | 2-Counts | 4000.28 | 102.32 | 6.2291e-07 | 0.00093971 |  | 7 | Intercept | 535.001 | 8.4858 | 0.076733 | -1.5319e-07 | [11 empty] | 1 | Constant | 74.4774 | 5.3449 | 1.36795e-02 -2.23188e-04
[38 empty] | 6 | Intercept | -930.426 | 0.58816 | -5.8308e-06 | -6.0193e-05 |  | 8 | Slope | -0.15291 | 0.0026494 | -2.3964e-05 | -0.00053079 | [12 empty] | 2 Exponent | -0.43386 | 0.010811 | 2.76814e-05 -1.45778e-01
[38 empty] | 7 | Slope | 0.10743 | 6.3586e-05 | -3.1964e-09 | 0.53386
[38 empty] | 1112 | [24 empty] | 1 | Constant | 1477.4 | 147.046 | 1.40814e-01 -4.19083e-05 | DERIVATIVE
[38 empty] | NO. | NAME | VALUE | ERROR | SIZE | DERIVATIVE | [20 empty] | 2 Exponent | -0.8618 | 0.015069 | 1.44366e-05 -4.23277e-01 | -4.1908e-05
[38 empty] | 1 | 1-Centroid | 9484.07 | 0.14923 | -6.7589e-07 | 0.0018761 | [19 empty] | 2 | Exponent | -0.8618 | 0.015069 | 1.4437e-05 | -0.42328
[38 empty] | 2 | 1-FWHM | 36.5332 | 0.46172 | 3.4076e-05 | -0.0018756
[38 empty] | 3 | 1-Counts | 17902.3 | 162.848 | 6.4155e-05 | -0.00019475
[38 empty] | 4 | 2-Centroid | 9567.38 | 0.76409 | -3.3643e-05 | 0.0013648
[38 empty] | 5 | 2-Counts | 3161.37 | 95.6827 | -1.9947e-06 | 0.00073566
[38 empty] | 6 | Intercept | 234.916 | 44.2301 | -2.059 | 1.8082e-06
[38 empty] | 7 | Slope | -0.018845 | 0.0046308 | 0.00021557 | 0.017469
1408
[38 empty] | NO. | NAME | VALUE | ERROR | SIZE | DERIVATIVE
[38 empty] | 1 | Centroid | 12012.8 | 0.13879 | -1.1962e-06 | -0.0018365
[38 empty] | 2 | FWHM | 39.1397 | 0.40625 | -3.792e-05 | -0.0027778
[38 empty] | 3 | Counts | 21570.7 | 156.709 | -8.3097e-05 | 0.00038273
[38 empty] | 4 | Intercept | 344.495 | 28.9574 | 1.5684 | 4.3868e-06
[38 empty] | 5 | Slope | -0.027131 | 0.0023932 | -0.00012963 | 0.050541
Ω=2𝜋(1−𝑑/√(𝑑^2+𝑎^2 ))

## Week 3 calibration
Cs137
NO. | NAME | VALUE | ERROR | SIZE | DERIVATIVE | LSF Rough Cali |  |  | LSF Cali All |  |  | LSF Low E Cali
1 | Centroid | 5643.13 | 0.028341 | 3.2453e-06 | 0.009038 | x2/ndf | 8.134E+5/6 |  | Chi2/ndf | 908349/14 | 64882.0714 | Chi2 | 3737.97/6 | 622.995 |  | Unknown | Centroid Channel | Error | Energy (keV) | E - 5keV / LOWER | E + 5keV / UPPER | Radiation Type | Element | Actual Energy (NNDC) | Error (NNDC) | Intensity (%) | Error (%) | Series
2 | FWHM | 17.6744 | 0.067378 | 2.5674e-05 | 0.032304 | m | 8.513 | 3.866e-05 | c | -6.9205 | 0.01236 | c | -10.6158 | 0.015757 |  | BG-K40 | 12465 |  | 1465.0085 | 1460.0085 | 1470.0085 | Gamma | K40
3 | Counts | 72491.5 | 269.671 | 0.00040014 | 0.0046287 | c | -6.617 | 0.01345 | m | 8.5171 | 3.5843e-05 | m | 8.5432 | 9.9969e-05 |  | BG-Cs137 | 5640.24 |  | 663.3216 | 658.3216 | 668.3216 | Gamma | Cs137 | 661.657
4 | Intercept | 83.0851 | 2.0507 | 0.0033207 | -2.8553e-06 |  | 6800.3778 |  |  |  |  | LSF High E Cali |  |  |  | Cyclotron-Bi207 | 4857 |  | 571.3165 | 566.3165 | 576.3165 | Gamma | Pb207 | 569.698 | 0.002 | 97.75 | 0.03
5 | Slope | -0.013804 | 0.00035604 | 5.7653e-07 | -0.01725 |  | 9102.293 |  |  |  |  | Chi2 | 336869/6 | 56144.8333 |  | Cyclotron-Bi207 | 9074.96 |  | 1066.7893 | 1061.7893 | 1071.7893 | Gamma | Pb207 | 1063.656 | 0.003 | 74.5 | 0.3
[6 empty] | True Calibration | [5 empty] | c | 55.1534 | 0.088447 |  | Cyclotron-Bi207 | 613 |  | 72.7848 | 67.7848 | 77.7848 | XR kα2 | Pb207 | 72.805 |  | 21.4 | 0.5
Ba133 | [5 empty] | source | Energy (keV) | Centroid | Error |  |  | m | 8.4416 | 0.00010933 |  | Cyclotron-Bi207 | 630.629 |  | 74.8556 | 69.8556 | 79.8556 | XR kα1 | Pb207 | 74.969 |  | 35.7 | 0.7
NO. | NAME | VALUE | ERROR | SIZE | DERIVATIVE | Am241 | 59.5409 | 498.177 | 0.012731 |  |  | LSF High E Cali no Co60 |  |  |  | Cyclotron-Bi207 | 713.547 |  | 84.5958 | 79.5958 | 89.5958 | XR kβ3 | Pb207 | 84.45 |  | 4.31 | 0.09
1 | 1-Centroid | 2351.57 | 0.09379 | 5.3023e-06 | -0.047731 | Eu152 | 121.7817 | 1030.18 | 0.027672 |  |  | Chi2 | 9817.51 | 2454.3775 | [6 empty] | 2 candidates | XR kβ1 | Pb207 | 84.938 |  | 8.27 | 0.18
2 | 1-FWHM | 11.5687 | 0.19515 | 3.7591e-05 | -0.012153 | Eu152 | 244.6974 | 2080.69 | 0.079233 |  |  | c | -8.2397 | 0.15129
3 | 1-Counts | 3225.26 | 58.6451 | 0.00012308 | 0.0098593 | 133Ba | 276.3989 | 2351.57 | 0.09379 |  |  | m | 8.5371 | 0.00021385 | 7750 | GreenBox | 7771.49 | 0.23519 | 913.674 | 908.674 | 918.674 | Gamma | Ac228 | 911.204 | 0.004 | 25.8 | 0.4 | Th
4 | 2-Centroid | 2577.71 | 0.06272 | 2.5282e-06 | 0.42452 | 133Ba | 302.8508 | 2577.71 | 0.06272 | [11 empty] | 2 candidates | Gamma | Th228 | 908.1 | 0.1 | 1.66e-06 | 1.7e-07 | Better Calibration to rule this out?
5 | 2-FWHM | 12.0922 | 0.13099 | 2.4778e-05 | 0.067181 | Eu152 | 344.2785 | 2931.66 | 0.051618 | [5 empty] | 8200_double | GreenBox | 8227.39 | 0.61974 | 967.2274 | 962.2274 | 972.2274 | Gamma | Ac228 | 968.971 | 0.017 | 15.8 | 0.3 | Th
6 | 2-Counts | 7275.48 | 86.3373 | 0.00012809 | -0.0021303 | 133Ba | 356.0129 | 3031.96 | 0.038038 | [7 empty] | 8263.78 | 0.30957 | 971.5021 | 966.5021 | 976.5021 | Unknown
7 | 3-Centroid | 3031.96 | 0.038038 | 1.4745e-06 | 1.5768 | 133Ba | 383.8485 | 3269.62 | 0.10622 |  |  | 2879.69 | 0.16597 |  | 2000_double | GreenBox | 2028.21 | 0.060403 | 239.0258 | 234.0258 | 244.0258 | Gamma | Pb212 | 238.632 | 0.002 | 43.6 | 0.5 | Th
8 | 3-FWHM | 12.5631 | 0.077332 | 1.4203e-05 | -0.069715 | Cs137 | 661.657 | 5643.13 | 0.028341 |  | rough | 339.047 | 0.019621 |  |  |  | 2049.09 | 0.26446 | 241.4786 | 236.4786 | 246.4786 | Gamma | Ra224 | 240.986 | 0.006 | 4.1 | 0.5 | Th
9 | 3-Counts | 20824.9 | 144.643 | 0.00016354 | 0.0045231 | Eu152 | 778.9045 | 6645.43 | 0.16416 |  | all | 338.9194 | 0.019593 |  | 5000 | GreenBox | 4970.27 | 0.15708 | 584.622 | 579.622 | 589.622 | Gamma | Tl208 | 583.187 | 0.002 | 85 | 0.3 | Th
10 | 4-Centroid | 3269.62 | 0.10622 | 5.5098e-06 | -1.1488 | Eu152 | 964.057 | 8226.33 | 0.18096 |  | lowE | 338.3165 | 0.019912 | [7 empty] | 2 candidates | Gamma | Ac228 | 583.41 | 0.05 | 0.111 | 0.01 | Lost in higher % peak?
11 | 4-FWHM | 12.6116 | 0.21432 | 3.9135e-05 | 0.022491 | Eu152 | 1085.837 | 9267.35 | 0.25281 |  |  | 7340.69 | 0.5832 |  | 700_quad | GreenBox | 712.865 | 0.31124 | 84.5157 | 79.5157 | 89.5157 | xrays and gamma | loads |  |  |  |  | Th
12 | 4-Counts | 2801.34 | 53.4539 | 0.0001201 | 0.011303 | Eu152 | 1112.076 | 9491.55 | 0.21194 |  | rough | 863.0691 |  |  |  |  | 734.984 | 0.21928 | 87.1139 | 82.1139 | 92.1139 |  | in book |  |  |  |  | Th
13 | Intercept | 20.674 | 0.51318 | 0.0013289 | -0.00024814 | Co60 | 1173.228 | 9932.78 | 0.086462 |  | all | 862.6892 |  |  |  |  | 758.135 | 0.26449 | 89.8334 | 84.8334 | 94.8334 | [6 empty] | Th
14 | Slope | -0.0058721 | 0.00017206 | 4.4561e-07 | -0.7265 | Co60 | 1332.492 | 11283.6 | 0.098457 |  | highE | 863.0496 |  |  |  |  | 787.248 | 0.22646 | 93.2533 | 88.2533 | 98.2533
[6 empty] | Eu152 | 1408.013 | 12021.9 | 0.20754 |  | highEnoCo | 860.8207 |  |  | 2800_double | GreenBox | 2790.97 | 0.45361 | 328.6253 | 323.6253 | 333.6253 | Gamma | Bi212 | 328.03 | 0.04 | 0.125 | 0.006 | Th
Am241 | [20 empty] | 2 candidates | Gamma | Ac228 | 326.04 |  | 0.033 | 0.005 | Th
NO. | NAME | VALUE | ERROR | SIZE | DERIVATIVE | [18 empty] | 327.44 |  | 0.12 | 0.04
1 | Centroid | 498.177 | 0.012731 | -8.0882e-07 | -0.28088 | [18 empty] | 328 |  | 2.95 | 0.12
2 | FWHM | 9.4329 | 0.024443 | -3.162e-06 | -0.1724 |  | Source | Energy (keV) | Channel (LSF) | Error | [13 empty] | 332.37 |  | 0.4 | 0.04
3 | Counts | 110283 | 341.057 | 6.0588e-06 | 0.0096322 |  | 241Am | 59.5409 | 500.2547 | [7 empty] | 2879.69 | 0.16597 | 339.047 | 334.047 | 344.047 | gamma | Ac228 | 338.32 | 0.03 | 11.27 | 0.019 | Th
4 | Intercept | 2877.7 | 1.5401 | 0.0029265 | 0.00045886 |  | 133Ba | 276.3989 | 2346.3668 | [14 empty] | 340.96 | 0.05 | 0.369 | 0.021
5 | Slope | -5.4778 | 0.0033937 | 9.3582e-06 | -0.31028 |  | 133Ba | 302.8508 | 2571.5519 | [5 empty] | 3_peaks_3500 | GreenBox | 3487.34 | 0.55629 | 410.4261 | 405.4261 | 415.4261 | Gamma | Ac228 | 409.462 | 0.006 | 1.92 | 0.04 | Th
[7 empty] | 133Ba | 356.0129 | 3024.1208 | [7 empty] | 3944.1 | 0.39026 | 464.0805 | 459.0805 | 469.0805 | Gamma | Ac228 | 463.004 | 0.006 | 4.4 | 0.07 | Th
Co 60 high counts 2 (higher deadtime) | [6 empty] | 133Ba | 383.8485 | 3261.0853 | [7 empty] | 4351.87 | 0.34479 | 511.9801 | 506.9801 | 516.9801 | Gamma | Ac228 | 508.959 | 0.017 | 0.45 | 0.5 | Th
P1 | [6 empty] | 137Cs | 661.657 | 5626.069 | [11 empty] | 2 candidates | Gamma | Tl208 | 510.77 | 0.1 | 22.6 | 0.2
NO. | NAME | VALUE | ERROR | SIZE | DERIVATIVE |  | 60Co | 1173.228 | 9981.073 | [5 empty] | 6200 | GreenBox | 6200.71 | 0.41578 | 729.1586 | 724.1586 | 734.1586 | Gamma | Bi212 | 727.33 | 0.09 | 6.67 | 0.09 | Th | Ac228 | 726.867 | 0.015 | 0.62 | 0.08 | Th
1 | Centroid | 9932.78 | 0.086462 | 6.4805e-08 | 0.0017785 |  | 60Co | 1332.492 | 11336.8874 | [5 empty] | 6800 | GreenBox | 6778.76 | 0.72281 | 797.0606 | 792.0606 | 802.0606 | Gamma | Ac228 | 794.947 | 0.005 | 4.25 | 0.07 | Th
2 | FWHM | 28.5947 | 0.20355 | -1.2519e-06 | -0.00085007 | [9 empty] | 7300 | GreenBox | 7340.69 | 0.5832 | 863.0691 | 858.0691 | 868.0691 | Gamma | Tl208 | 860.557 | 0.004 | 12.5 | 0.1 | Th
3 | Counts | 22348.9 | 153.519 | -1.3693e-05 | -0.00019625 | [9 empty] | 4500 | GreenBox | 4351.89 | 0.34487 | 511.9825 |  |  | Gamma | Tl208 | 510.77 | 0.1 | 22.6 | 0.2 | Th
4 | Intercept | 320.943 | 9.0535 | 0.089625 | 9.7961e-08 | [9 empty] | 4000 | GreenBox | 3944.11 | 0.38987 | 464.0816 |  |  | Gamma | Ac228 | 463.004 | 0.006 | 4.4 | 0.07 | Th
5 | Slope | -0.030821 | 0.00089868 | -8.897e-06 | 0.00014888 | [9 empty] | 3500 | GreenBox | 3487.44 | 0.55424 | 410.4378 |  |  | Gamma | Ac228 | 409.462 | 0.006 | 1.92 | 0.04 | Th
P2 | [14 empty] | 1800 | GreenBox | 1777.6 | 0.23934 | 209.5873 |  |  | Gamma | Ac228 | 209.253 | 0.006 | 3.89 | 0.07 | Th
NO. | NAME | VALUE | ERROR | SIZE | DERIVATIVE | [9 empty] | 2500 triple | GreenBox | 2298.13 | 0.30739 | 270.7326 |  |  | Gamma | Ac228 | 270.245 | 0.002 | 3.46 | 0.06 | Th
1 | Centroid | 11283.6 | 0.098457 | 6.1606e-06 | 2.4034 |  | NAME | VALUE | ERROR | SIZE | [6 empty] | 2359.49 | 0.40859 | 277.9404 |  |  | Gamma | Tl208 | 277.371 | 0.005 | 6.6 | 0.3 | Th
2 | FWHM | 32.0611 | 0.23317 | 3.4863e-05 | -0.0051491 |  | 1-Centroid | 9267.35 | 0.25281 | 1.3674e-05 | [6 empty] | 2553.82 | 0.31671 | 300.7679 |  |  | Gamma | Pb212 | 300.087 | 0.01 | 3.30 | 0.04 | Th
3 | Counts | 20268.7 | 143.326 | 0.00036296 | -0.043337 |  | 1-FWHM | 19.9255 | 0.61778 | 6.5502e-05
4 | Intercept | 62.0125 | 3.4808 | 0.0015286 | -0.0028968 |  | 1-Counts | 1554.85 | 43.0912 | 0.00018524 |  |  |  |  | 15000 | Rock7 | 15058.9 | 0.39297 | 1769.7072 | 1764.7072 | 1774.7072 | Gamma | Bi214 | 1764.491 | 0.01 | 15.3 | 0.03 | U
5 | Slope | -0.0052221 | 0.00030498 | 1.3394e-07 | -32.9933 |  | 2-Centroid | 9300.08 | 0.75957 | 3.539e-05 | [10 empty] | 3 candidates | Gamma | Ac228 | 1772.2 | 0.3 | 0.0018 | 0.0005 | Th
[7 empty] | 2-FWHM | 17.5966 | 1.6091 | 0.00017071 | [11 empty] | Gamma | Ac230 | 1770.5 | 1 | 0.1 | 0.04 | ?
Eu152 | [6 empty] | 2-Counts | 267.117 | 22.9367 | 0.00018698 |  |  |  |  | 9500 | Rock7 | 9555.59 | 0.27668 | 1123.2476 | 1118.2476 | 1128.2476 | Gamma | Tl208 | 1125.7 | 0.4 | 0.005 | 0.002 | Th
121 | [5 empty] | 1085 | [15 empty] | Gamma | Bi214 | 1120.294 | 0.006 | 14.92 | 0.03 | U
NO. | NAME | VALUE | ERROR | SIZE | DERIVATIVE | NO. | 3-Centroid | 9491.55 | 0.21194 | 1.0339e-05 | DERIVATIVE | [10 empty] | Gamma | Bi215 | 1127.7 | 0.7 | 0.97 | 0.18 | Ac
1 | Centroid | 1030.18 | 0.027672 | -5.1465e-09 | 9.5439e-05 | 1 | 3-FWHM | 19.9899 | 0.44738 | 5.087e-05 | -0.0017023 | [9 empty] | 4 candidates | Gamma | Pa234 | too many to type (3) |  |  |  | U
2 | FWHM | 10.4528 | 0.055629 | 3.8837e-07 | 5.0794e-05 | 2 | 3-Counts | 2050.67 | 47.1376 | 0.00019359 | -0.00044774 |  |  |  | 5100 | Rock7 | 5193.28 | 0.082084 | 610.8184 | 605.8184 | 615.8184 | Gamma | Bi214 | 609.32 | 0.05 | 45.49 | 0.16 | U
3 | Counts | 28988.7 | 174.495 | 3.3602e-06 | -7.197e-05 | 3 | Intercept | 21.027 | 5.4991 | 0.0010405 | 0.00053471 | [10 empty] | Gamma | Pb211 | 609.38 | 0.04 | 0.043 | 0.006 | Ac
4 | Intercept | 138.574 | 5.1047 | -0.031131 | -7.2497e-09 | 4 | Slope | -0.0019098 | 0.00058318 | 1.104e-07 | -0.006594 | [10 empty] | Gamma | Bi215 | 609 | 0.5 | 1.39 | 0.21 | Ac
5 | Slope | -0.088408 | 0.0046654 | 2.8466e-05 | -1.2624e-05 | 5 |  |  |  |  | 0.0004711 | [10 empty] | Gamma | Rn219 | 608.3 | 0.2 | 0.0043 | 0.0011 | Ac
244 | [5 empty] | 6 | NAME | VALUE | ERROR | SIZE | -0.00056414 | [10 empty] | Gamma | Rn225 | 605.6 | 0.2 | 0.094 | 0.013 | Np | lol obviously not this
NO. | NAME | VALUE | ERROR | SIZE | DERIVATIVE | 1112 | Centroid | 12021.9 | 0.20754 | 1.2641e-05 | [11 empty] | Gamma | Fr223 | 607.6 | 0.3 | 0.0024 | 0.0008 | Ac | rock didn’t explode when ocean picked it up so probably not Francium
1 | Centroid | 2080.69 | 0.079233 | 5.5055e-06 | -0.074471 | 7 | FWHM | 22.1289 | 0.44964 | 4.2709e-05 | -0.016093 | [12 empty] | 613.6 | 0.4 | 0.0012 | 0.0004 | Ac
2 | FWHM | 11.4882 | 0.1677 | 2.4898e-05 | 0.12506 | 8 | Counts | 2401.79 | 50.7835 | 0.00031362 | -0.00098993 | [10 empty] | Gamma | Ra223 | 609.31 | 0.04 | 0.057 | 0.003 | Ac
3 | Counts | 5092.72 | 77.3276 | 0.00010155 | -0.032639 | 9 | Intercept | 97.2129 | 23.5868 | 0.00089894 | -0.0011733 | [10 empty] | Gamma | Ac228 | 610.64 | 0.1 | 0.023 | 0.005 | Th
4 | Intercept | 65.2317 | 12.2255 | 0.0027451 | -3.4473e-05 | 10 | Slope | -0.0079212 | 0.0019575 | 7.4614e-08 | -0.00026625 | [10 empty] | Gamma | Th227 | 607.7 | 0.3 | 1.8e-05 | 4e-06 | Ac
5 | Slope | -0.018577 | 0.0058781 | 1.3198e-06 | -0.22102 | 11 |  |  |  |  | -2.511 |  |  |  | 3000 | Rock7 | 2995.28 | 0.056564 | 352.625 | 347.625 | 357.625 | Gamma | Pb214 | 351.9321 | 0.0018 | 35.6 | 0.07 | U
344 | [5 empty] | 1408 | [15 empty] | Gamma | Bi211 | 351.07 | 0.05 | 13.02 | 0.12 | Ac
NO. | NAME | VALUE | ERROR | SIZE | DERIVATIVE | NO. |  |  |  |  | DERIVATIVE | [10 empty] | Gamma | Bi214 | 351.9 | 0.5 | 0.07 | 0.01 | U
1 | Centroid | 2931.66 | 0.051618 | 4.5664e-06 | 0.013322 | 1 |  |  |  |  | 0.13759 |  |  |  | 2500 | Rock7 | 2511.23 | 0.071101 | 295.7649 | 290.7649 | 300.7649 | Gamma | Tl210 | 296 | 3 | 79 | 10 | U
2 | FWHM | 12.9226 | 0.10603 | 2.2134e-05 | -0.0087738 | 2 |  |  |  |  | 0.029082 | [10 empty] | Gamma | 214Pb | 295.2228 | 0.0018 | 18.42 | 0.04 | U
3 | Counts | 13016.1 | 116.736 | 0.00018162 | -0.00019971 | 3 |  |  |  |  | 0.0044791 | [10 empty] | Gamma | 213Bi | 292.8 | 0.01 | 0.429 | 0.007 | Np
4 | Intercept | 90.8365 | 7.9234 | 0.0030834 | -0.00031479 | 4 |  |  |  |  | -0.0014186 | [10 empty] | Gamma | 214Po | 298 | 1 | 5.2e-05 | 1.8e-06 | U
5 | Slope | -0.025467 | 0.0026607 | 1.0356e-06 | 0.43472 | 5 |  |  |  |  | -17.1258 | [10 empty] | Gamma | 224Ra | 292.7 | 0.1 | 0.0062 | 0.0007 | Th
778 | [21 empty] | Gamma | 225Ac | 298.6 | 0.3 | 0.0018 | 0.0005 | Np
NO. | NAME | VALUE | ERROR | SIZE | DERIVATIVE | [16 empty] | Gamma | 229Th | 293.78 | 0.1 | 0.0066 | 0.0008 | Np
1 | Centroid | 6645.43 | 0.16416 | 1.1811e-05 | -0.14928 | [18 empty] | 296.21 | 0.1 | 0.0165 | 0.0018 | Np
2 | FWHM | 17.0681 | 0.36685 | 5.2907e-05 | -0.0038519 | [18 empty] | 298.72 | 0.12 | 0.007 | 0.0008 | Np
3 | Counts | 2638.59 | 54.9061 | 0.0002149 | -0.0017851 | [16 empty] | Gamma | 233Pa | 290.1 | 0.1 | 0.0035 | 0.0008 | Np
4 | Intercept | 62.2723 | 13.7493 | 0.0017556 | -0.00029763 | [18 empty] | 298.81 | 0.02 | 0.088 | 0.014 | Np
5 | Slope | -0.008274 | 0.0020675 | 2.6399e-07 | -1.8586 | [16 empty] | Gamma | 234Pa | 299 | 1 | 0.00065 | 0.00013 | U
964 | [21 empty] | Gamma | 233U | 291.355 | 0.009 | 0.00463 | 0.00025 | Np
NO. | NAME | VALUE | ERROR | SIZE DERIVATIVE | [19 empty] | 291.355 | 0.009 | 0.00062 | 0.00025 | Np
1 | Centroid | 8226.33 | 0.18096 | 1.71270e-05 6.29770e-05 | [19 empty] | 291.93 | 0.04 | 0.000102 | 1.5e-05 | Np
2 | FWHM | 19.0875 | 0.39339 | 5.91443e-05 -7.45331e-05 | [19 empty] | 293.996 | 0.009 | 0.000122 | 7e-06 | Np
3 | Counts | 2519.08 | 52.7718 | 2.91762e-04 2.03961e-04 | [10 empty] | 2000 | Rock7 | 2056.84 | 0.11065 | 242.3889 | 237.3889 | 247.3889 | Gamma | 212Pb | 238.632 | 0.002 | 43.6 | 0.5 | Th
4 | Intercept | 144.789 | 21.1629 | 1.36097e-03 3.65165e-05 | [17 empty] | Gamma | 214Pb | 238.4 | ? | 0.008 | 0.008 | U
5 | Slope | -0.017122 | 0.0025603 | 1.64687e-07 3.01563e-01 | [19 empty] | 241.995 | 0.0023 | 7.251 | 0.016 | U
[22 empty] | Gamma | 223Fr | 245.6 | 0.05 | 0.029 | 0.008 | Ac
[22 empty] | Gamma | 224Ra | 240.986 | 0.006 | 4.1 | 0.05 | Ra
[22 empty] | Gamma | 225Ac
[22 empty] | Gamma | 227Ac
[22 empty] | Gamma | 227Th
[22 empty] | Gamma | 229Th
[22 empty] | Gamma | 231Th
[22 empty] | Gamma | 231Pa
[22 empty] | Gamma | 233Pa
[22 empty] | Gamma | 233U
[22 empty] | Gamma | 235U
[22 empty] | Gamma | 237Np
[15 empty] | 1600 | Rock7 | 1578.4 | 0.12482 | 186.1878 | 181.1878 | 191.1878 | Gamma | Ra226 | 186.211 | 0.013 | 3.64 | 0.04 | U
[23 empty] | U235 | 185.715 | 0.005 | 57 | 0.6 | Ac
[15 empty] | 6500 | Rock7 | 6550.26 | 0.38414 | 770.2193 | 765.2193 | 775.2193 | Gamms | Bi214 | 768.36 | 0.005 | 4.894 | 0.011 | U
[15 empty] | 10500 | Rock7 | 10562.4 | 0.57285 | 1241.515 |  |  | Gamms | Bi214 | 1238.122 | 0.007 | 5.834 | 0.015 | U
[15 empty] | 11600 | Rock7 | 11754.9 | 0.64607 | 1381.5949 |  |  | Gamma | ?
[15 empty] | 600double | Rock7 | 629.257 | 0.17566 | 74.6945
[17 empty] | 648.054 | 0.12338 | 76.9025
[15 empty] | 1000 | Rock7 | 939.803 | 0.56822 | 111.1735 |  |  | Gamma

## Unknown Samples Week 3
Background | [5 empty] | GreenBox | [11 empty] | Rock7
peak1 | K-40 |  |  |  |  | peak 7750 | [5 empty] | peak6200 | [5 empty] | Peak15000 | [5 empty] | Peak3000 | [5 empty] | peak1600
1 | Centroid | 12465.2 | 0.47758 | -5.5329e-06 | -2.1013e-05 | NO. | NAME | VALUE | ERROR | SIZE | DERIVATIVE | NO. | NAME | VALUE | ERROR | SIZE | DERIVATIVE | NO. | NAME | VALUE | ERROR | SIZE | DERIVATIVE | NO. | NAME | VALUE | ERROR | SIZE | DERIVATIVE | NO. | NAME | VALUE | ERROR | SIZE | DERIVATIVE
2 | FWHM | 22.1813 | 1.1765 | -3.1179e-05 | -3.0165e-05 | 1 | Centroid | 7771.49 | 0.23519 | 1.5397e-05 | -0.0021935 | 1 | Centroid | 6200.71 | 0.41578 | 1.8262e-06 | 4.4959e-06 | 1 | Centroid | 15058.9 | 0.39297 | 1.294e-05 | -0.21829 | 1 | Centroid | 2995.28 | 0.056564 | 3.3994e-06 | 0.01682 | 1 | Centroid | 1578.4 | 0.12482 | 7.9325e-06 | 0.047352
3 | Counts | 539.331 | 28.467 | -9.957e-05 | 6.9706e-06 | 2 | FWHM | 16.9531 | 0.43189 | 4.7608e-05 | -0.00076175 | 2 | FWHM | 17.966 | 0.83876 | 5.7842e-06 | -2.9166e-05 | 2 | FWHM | 25.4213 | 0.75714 | 4.3796e-05 | 0.019009 | 2 | FWHM | 13.4098 | 0.11265 | 2.0291e-05 | 0.012116 | 2 | FWHM | 12.9761 | 0.26621 | 3.7682e-05 | -0.0013593
4 | Intercept | 74.5802 | 68.8848 | -0.21577 | 1.5668e-06 | 3 | Counts | 1226.24 | 36.6229 | 0.00030392 | 0.00010171 | 3 | Counts | 502.534 | 25.4838 | 1.7571e-05 | -3.9081e-06 | 3 | Counts | 1010.34 | 33.9965 | 0.00027789 | -0.0091326 | 3 | Counts | 12315.9 | 113.989 | 0.00015844 | -0.00017693 | 3 | Counts | 3474.48 | 71.0064 | 8.9899e-05 | 0.00090113
5 | Slope | -0.0058908 | 0.0055398 | 1.7353e-05 | 0.019729 | 4 | Intercept | 38.516 | 16.1414 | 0.00076851 | -2.8588e-05 | 4 | Intercept | 16.4477 | 12.993 | 0.10049 | -5.4079e-07 | 4 | Intercept | 8.5807 | 14.6748 | 0.00051321 | -0.013897 | 4 | Intercept | 64.8398 | 4.0829 | 0.0028675 | -0.00037792 | 4 | Intercept | 74.8375 | 8.203 | 0.0036075 | 7.078e-05
peak2 | Cs-137 |  |  |  |  | 5 | Slope | -0.0047276 | 0.0020787 | 9.8957e-08 | -0.22227 | 5 | Slope | -0.0022536 | 0.0021 | -1.6242e-05 | -0.0035285 | 5 | Slope | -0.00047904 | 0.00097826 | 3.4201e-08 | -208.765 | 5 | Slope | -0.015653 | 0.0013296 | 9.3398e-07 | 1.1905 | 5 | Slope | -0.019695 | 0.0051776 | 2.2774e-06 | -0.096211
NO. | NAME | VALUE | ERROR | SIZE | DERIVATIVE | peak8200_double | [5 empty] | peak6800 | [5 empty] | Peak9500 | [5 empty] | Peak2500 | [5 empty] | Peak6500
| Centroid | 5640.24 | 0.77578 | 2.3222e-05 | 0.029282 | NO. | NAME | VALUE | ERROR | SIZE | DERIVATIVE | NO. | NAME | VALUE | ERROR | SIZE | DERIVATIVE | NO. | NAME | VALUE | ERROR | SIZE | DERIVATIVE | NO. | NAME | VALUE | ERROR | SIZE | DERIVATIVE | NO. | NAME | VALUE | ERROR | SIZE | DERIVATIVE
2 | FWHM | 14.3428 | 1.7981 | 0.00019228 | 0.001738 | 1 | 1-Centroid | 8227.39 | 0.61974 | 1.6334e-05 | 0.0021742 | 1 | Centroid | 6778.76 | 0.72281 | 3.3541e-05 | -0.059292 | 1 | Centroid | 9555.59 | 0.27668 | 1.0763e-05 | -0.062115 | 1 | Centroid | 2511.23 | 0.071101 | 3.705e-06 | 1.2523 | 1 | Centroid | 6550.26 | 0.38414 | 1.4988e-05 | 0.2454
3 | Counts | 126.811 | 14.4218 | 0.00030397 | 0.0033888 | 2 | 1-FWHM | 17.0885 | 1.566 | 0.0001068 | 0.00073826 | 2 | FWHM | 17.5939 | 1.643 | 0.00015107 | -0.019632 | 2 | FWHM | 20.4902 | 0.52653 | 5.3541e-05 | -0.11088 | 2 | FWHM | 12.5595 | 0.13793 | 2.1135e-05 | 0.095203 | 2 | FWHM | 17.8218 | 0.86704 | 0.00010739 | -0.046194
4 | Intercept | 2.8838 | 1.3212 | 0.00066171 | -0.00068835 | 3 | 1-Counts | 232.317 | 17.4854 | 0.00020652 | 0.0012764 | 3 | Counts | 211.733 | 17.9326 | 0.0002931 | 0.014145 | 3 | Counts | 1519.04 | 41.1014 | 0.00026799 | -0.0088553 | 3 | Counts | 7295.41 | 89.9897 | 0.00011726 | -0.015728 | 3 | Counts | 689.843 | 30.0817 | 0.00026116 | 0.018165
5 | Slope | -0.00011628 | 0.00023405 | 1.1722e-07 | -3.8903 | 4 | 2-Centroid | 8263.78 | 0.30957 | 8.5909e-06 | 0.0075594 | 4 | Intercept | 25.9247 | 7.4235 | 0.00066067 | -0.00092536 | 4 | Intercept | 4.1736 | 4.3446 | 0.0009081 | 0.01183 | 4 | Intercept | 77.2389 | 4.656 | 0.0026901 | 9.2932e-05 | 4 | Intercept | 3.8847 | 2.2534 | 0.0012338 | 0.0052297
[6 empty] | 5 | 2-FWHM | 16.1023 | 0.59781 | 4.5058e-05 | 0.0015785 | 5 | Slope | -0.0035126 | 0.0010944 | 9.7399e-08 | -6.25 | 5 | Slope | -0.00013521 | 0.00045575 | 9.5251e-08 | 112.548 | 5 | Slope | -0.021601 | 0.0018315 | 1.0584e-06 | -0.4378 | 5 | Slope | 9.2427e-05 | 0.00033935 | 1.8585e-07 | 34.6474
Cyclotron | [5 empty] | 6 | 2-Counts | 628.039 | 26.4021 | 0.0002347 | 4.3429e-06 | peak7300 | [5 empty] | Peak5100 | [5 empty] | peak2000 | [5 empty] | peaK6500
peak4 | Bi-207 |  |  |  |  | 7 | Intercept | 3.02 | 3.88 | 0.00048022 | 0.00021883 | NO. | NAME | VALUE | ERROR | SIZE | DERIVATIVE | NO. | NAME | VALUE | ERROR | SIZE | DERIVATIVE | NO. | NAME | VALUE | ERROR | SIZE | DERIVATIVE | 1 | Centroid | 6550.25 | 0.38413 | -4.9863e-06 | 0.00041919
NO. | NAME | VALUE | ERROR | SIZE | DERIVATIVE | 8 | Slope | -0.00019648 | 0.00047161 | 5.8365e-08 | 1.7998 | 1 | Centroid | 7340.69 | 0.5832 | 2.0915e-05 | -0.014326 | 1 | Centroid | 5193.28 | 0.082084 | 5.4238e-06 | 1.2844 | 1 | Centroid | 2056.84 | 0.11065 | 1.3636e-05 | -0.14504 | 2 | FWHM | 18.1637 | 0.89923 | 4.3315e-05 | 0.0073412
1 | Centroid | 9074.96 | 0.75187 | 1.5787e-06 | -0.0042414 | peak2000_double | [5 empty] | 2 | FWHM | 14.8272 | 1.1686 | 0.00010304 | 0.021056 | 2 | FWHM | 15.9051 | 0.16634 | 2.759e-05 | 0.22993 | 2 | FWHM | 11.6381 | 0.23414 | 3.5084e-05 | -0.020143 | 3 | Counts | 702.003 | 30.7974 | 3.9729e-05 | -0.00090345
2 | FWHM | 15.4698 | 1.9238 | 0.0013954 | -0.0027369 | NO. | NAME | VALUE | ERROR | SIZE | DERIVATIVE | 3 | Counts | 194.325 | 16.1521 | 0.00028312 | -0.0068048 | 3 | Counts | 7920.79 | 90.6499 | 0.00023849 | -0.05306 | 3 | Counts | 3273.65 | 69.8492 | 0.00010162 | -0.0040826 | 4 | Intercept | 31.7611 | 0.13076 | 7.4942e-06 | 0.00074157
3 | Counts | 139.933 | 15.3766 | 0.004912 | -0.002096 | 1 | 1-Centroid | 2028.21 | 0.060403 | -5.3251e-08 | -1.1908 | 4 | Intercept | 7.1776 | 5.0035 | 0.00050024 | 0.00074048 | 4 | Intercept | 42.885 | 5.6681 | 0.0017619 | -0.00045685 | 4 | Intercept | 429.269 | 77.6667 | 0.0033767 | -0.00019033 | 5 | Slope | -0.0042039 | 2.006e-05 | 1.9416e-09 | 2.4014
4 | Intercept | 13.4979 | 25.0969 | 3.6848 | 0.00090343 | 2 | 1-FWHM | 11.7543 | 0.13051 | -2.6564e-06 | -0.014475 | 5 | Slope | -0.00075876 | 0.00068253 | 6.8234e-08 | 5.4291 | 5 | Slope | -0.0070209 | 0.0010842 | 3.3704e-07 | -0.53363 | 5 | Slope | -0.19352 | 0.037626 | 1.6369e-06 | -0.43625
5 | Slope | -0.0013676 | 0.0027788 | -0.00040799 | 8.1889 | 3 | 1-Counts | 8066.43 | 93.289 | 1.3484e-05 | 0.0071108 | peak4500 | [5 empty] | peak1000 | [11 empty] | peak10500
peak3 | Bi-207 |  |  |  |  | 4 | 2-Centroid | 2049.09 | 0.26446 | -2.1139e-06 | 0.048717 | 1 | Centroid | 4351.89 | 0.34487 | 2.3175e-05 | 0.088401 | NO. | NAME | VALUE | ERROR | SIZE | DERIVATIVE | [6 empty] | NO. | NAME | VALUE | ERROR | SIZE | DERIVATIVE
NO. | NAME | VALUE | ERROR | SIZE DERIVATIVE |  | 5 | 2-FWHM | 10.6675 | 0.55878 | -2.7398e-06 | -0.0030814 | 2 | FWHM | 19.0384 | 0.86005 | 0.00010795 | 0.019238 | 1 | Centroid | 939.803 | 0.56822 | 2.2305e-08 | 0.00039031 | [6 empty] | 1 | Centroid | 10562.4 | 0.57285 | 2.7355e-05 | -0.039883
1 | Centroid | 5640.24 | 0.77578 | 2.32217e-05 2.92816e-02 |  | 6 | 2-Counts | 701.867 | 35.112 | -2.9683e-06 | -0.00090803 | 3 | Counts | 823.367 | 32.5763 | 0.00026314 | 0.0024314 | 2 | FWHM | 17.6367 | 1.7734 | -0.00014649 | -0.00021046 | [6 empty] | 2 | FWHM | 21.9433 | 1.0867 | 9.6255e-05 | -0.0094756
2 | FWHM | 14.3428 | 1.7981 | 1.92278e-04 1.73797e-03 |  | 7 | Intercept | 51.8741 | 0.16305 | 2.235e-05 | 0.00022244 | 4 | Intercept | 10.632 | 6.6208 | 0.0012103 | 0.0027902 | 3 | Counts | 852.662 | 69.1284 | -0.00014409 | 7.6361e-05 | [6 empty] | 3 | Counts | 504.785 | 25.6394 | 0.00029309 | -0.0013878
3 | Counts | 126.811 | 14.4218 | 3.03966e-04 3.38876e-03 |  | 8 | Slope | -0.019532 | 7.9568e-05 | 1.851e-08 | -1.2913 | 5 | Slope | -0.0015056 | 0.0015232 | 2.7842e-07 | 12.1511 | 4 | Intercept | 87.6112 | 12.256 | 0.18799 | 2.7346e-06 | [6 empty] | 4 | Intercept | -1.7449 | 10.1539 | 0.00075276 | -0.00020173
4 | Intercept | 2.8838 | 1.3212 | 6.61712e-04 -6.88353e-04 |  | peak5000 | [5 empty] | peak400 | [5 empty] | 5 | Slope | -0.038812 | 0.012467 | -0.00019121 | 0.002573 | [6 empty] | 5 | Slope | 0.00037379 | 0.00096389 | 7.1444e-08 | -3.522
5 | Slope | -0.00011628 | 0.00023405 | 1.17221e-07 -3.89032e+00 |  | NO. | NAME | VALUE | ERROR | SIZE | DERIVATIVE | NO. | NAME | VALUE | ERROR | SIZE | DERIVATIVE | [12 empty] | peak11600
peak 1-2 | Bi-Kalphas |  |  |  |  | 1 | Centroid | 4970.27 | 0.15708 | 6.9615e-06 | -0.0031096 | 1 | Centroid | 3944.11 | 0.38987 | 2.9131e-05 | -0.019356 | [12 empty] | NO. | NAME | VALUE | ERROR | SIZE | DERIVATIVE
1 | 1-Centroid | 612.758 | 0.47657 | 2.367e-05 | -0.033135 | 2 | FWHM | 15.5224 | 0.30747 | 4.0726e-05 | -0.00041133 | 2 | FWHM | 13.6448 | 0.83192 | 0.00011602 | -0.00045887 | [12 empty] | 1 | Centroid | 11754.9 | 0.64607 | 3.3209e-05 | 0.011968
2 | 1-FWHM | 11.7256 | 1.4832 | 0.00018111 | -0.0046362 | 3 | Counts | 2175.46 | 48.3104 | 0.00024968 | -6.3746e-07 | 3 | Counts | 394.731 | 23.963 | 0.00025409 | -0.000248 | [12 empty] | 2 | FWHM | 22.73 | 1.4606 | 0.00013207 | -0.0064211
3 | 1-Counts | 254.065 | 22.7036 | 0.00025685 | -0.0067932 | 4 | Intercept | 11.9666 | 2.5871 | 0.0010467 | -0.00030281 | 4 | Intercept | 32.9813 | 10.2558 | 0.0012031 | -8.0021e-05 | [12 empty] | 3 | Counts | 366.176 | 22.8051 | 0.00029257 | 0.0014279
4 | 2-Centroid | 630.629 | 0.301 | 1.3822e-05 | -0.013454 | 5 | Slope | -0.0016699 | 0.00051723 | 2.0927e-07 | -1.5143 | 5 | Slope | -0.0072464 | 0.0026127 | 3.0638e-07 | 0.45449 | [12 empty] | 4 | Intercept | 12.6126 | 12.3404 | 0.00071681 | -0.00058559
5 | 2-FWHM | 10.2552 | 0.60496 | 8.5405e-05 | -0.052707 | peak700_quad | [5 empty] | peak3500 | [17 empty] | 5 | Slope | -0.00088708 | 0.0010483 | 6.0901e-08 | -6.8977
6 | 2-Counts | 437.589 | 25.5227 | 0.0002485 | 0.018278 | NO. | NAME | VALUE | ERROR | SIZE | DERIVATIVE | 1 | Centroid | 3487.44 | 0.55424 | 4.2004e-05 | -0.057891 | [12 empty] | peak600double
7 | 3-Centroid | 713.547 | 0.46252 | 2.1179e-05 | 0.10465 | 1 | 1-Centroid | 712.865 | 0.31124 | 2.0526e-06 | 0.050093 | 2 | FWHM | 11.6612 | 1.0363 | 0.00015142 | -0.011863 | [12 empty] | NO. | NAME | VALUE | ERROR | SIZE | DERIVATIVE
8 | 3-FWHM | 9.9681 | 0.89997 | 0.00013764 | 0.0237 | 2 | 1-FWHM | 11.9011 | 0.64945 | -1.2104e-05 | -0.001093 | 3 | Counts | 207.167 | 19.6126 | 0.00025767 | -0.00018252 | [12 empty] | 1 | 1-Centroid | 629.257 | 0.17566 | 2.5106e-05 | -0.049464
9 | 3-Counts | 184.307 | 16.5757 | 0.00025214 | -0.0018539 | 3 | 1-Counts | 770.333 | 41.6495 | -1.5798e-05 | 0.016984 | 4 | Intercept | 59.1649 | 11.6481 | 0.0013304 | 0.00033593 | [12 empty] | 2 | 1-FWHM | 10.4526 | 0.56969 | 5.8001e-05 | -0.0080446
10 | Intercept | 6.3907 | 0.50469 | 0.0010529 | 0.00072136 | 4 | 2-Centroid | 734.984 | 0.21928 | -2.296e-08 | -0.02773 | 5 | Slope | -0.015357 | 0.0033374 | 3.8122e-07 | 0.5006 | [12 empty] | 3 | 1-Counts | 2069.09 | 137.814 | 5.7573e-05 | 0.017514
11 | Slope | -0.004017 | 0.00066683 | 1.3994e-06 | 0.55887 | 5 | 2-FWHM | 11.5145 | 0.51788 | -5.066e-07 | 0.026535 | peak1800 | [17 empty] | 4 | 2-Centroid | 648.054 | 0.12338 | 1.6633e-05 | -0.0092466
lowenergy triple | [5 empty] | 6 | 2-Counts | 1128.48 | 46.5182 | -1.42e-05 | -0.0023094 | 1 | Centroid | 1777.6 | 0.23934 | 1.8378e-05 | 0.025307 | [12 empty] | 5 | 2-FWHM | 9.2963 | 0.28907 | 4.2584e-05 | 0.010684
NO. | NAME | VALUE | ERROR | SIZE | DERIVATIVE | 7 | 3-Centroid | 758.135 | 0.26449 | 5.6269e-07 | 0.033305 | 2 | FWHM | 11.1449 | 0.54295 | 8.4406e-05 | -0.00015093 | [12 empty] | 6 | 2-Counts | 2563.97 | 88.217 | 5.5867e-05 | -0.0009399
1 | 1-Centroid | 612.805 | 0.46804 | 3.4447e-05 | -0.024241 | 8 | 3-FWHM | 11.7369 | 0.66117 | -1.294e-05 | -0.0027173 | 3 | Counts | 765.792 | 35.4979 | 0.00015701 | -0.00046812 | [12 empty] | 7 | Intercept | 170.296 | 104.452 | 0.006032 | 0.00014814
2 | 1-FWHM | 11.1741 | 1.3666 | 0.00017159 | 0.002437 | 9 | 3-Counts | 852.127 | 44.4612 | -1.9787e-05 | 0.0063238 | 4 | Intercept | 29.3238 | 7.1521 | 0.0022212 | 0.0001948 | [12 empty] | 8 | Slope | -0.12791 | 0.15884 | 9.3465e-06 | 0.092174
3 | 1-Counts | 241.842 | 22.3376 | 0.00022356 | -0.0028812 | 10 | 4-Centroid | 787.248 | 0.22646 | -3.11e-06 | -0.053447 | 5 | Slope | -0.007871 | 0.0041193 | 1.2774e-06 | -0.23929
4 | 2-Centroid | 630.585 | 0.29722 | 1.9482e-05 | 0.005746 | 11 | 4-FWHM | 11.2729 | 0.46158 | 4.4239e-06 | 0.035209 | peak2500triple#
5 | 2-FWHM | 10.182 | 0.59586 | 8.4144e-05 | 0.0047033 | 12 | 4-Counts | 942.473 | 35.3474 | 5.399e-06 | 0.063412 | NO. | NAME | VALUE | ERROR | SIZE | DERIVATIVE
6 | 2-Counts | 431.443 | 25.2182 | 0.00022026 | -0.0064225 | 13 | Intercept | 33.3961 | 0.50773 | 0.00021085 | -0.00016781 | 1 | 1-Centroid | 2298.13 | 0.30739 | 4.2756e-07 | 0.00069747
7 | 3-Centroid | 713.573 | 0.46182 | 3.1752e-05 | 0.027327 | 14 | Slope | -0.013725 | 0.00076556 | 6.2769e-07 | -0.67659 | 2 | 1-FWHM | 11.1287 | 0.67252 | 2.4985e-06 | -0.00041719
8 | 3-FWHM | 9.8969 | 0.90594 | 0.00013511 | 0.0041344 | peak2800_double | [5 empty] | 3 | 1-Counts | 471.789 | 27.5226 | -1.0768e-06 | 0.00016589
9 | 3-Counts | 182.856 | 16.858 | 0.00021655 | 0.0049841 | NO. | NAME | VALUE | ERROR | SIZE | DERIVATIVE | 4 | 2-Centroid | 2359.49 | 0.40859 | -8.7177e-08 | 2.4364e-05
10 | Intercept | 9.1993 | 1.5471 | 0.0011453 | 0.00042436 | 1 | 1-Centroid | 2790.97 | 0.45361 | -1.4995e-06 | 0.005576 | 5 | 2-FWHM | 11.2994 | 0.80456 | 7.2187e-06 | -0.00085373
11 | Slope | -0.0078668 | 0.0022347 | 1.6621e-06 | 0.31261 | 2 | 1-FWHM | 13.0524 | 1.114 | 6.3937e-06 | -0.0007685 | 6 | 2-Counts | 326.287 | 24.2998 | 1.021e-05 | 0.00021375
[6 empty] | 3 | 1-Counts | 347.257 | 24.9675 | -4.3819e-06 | -0.00034863 | 7 | 3-Centroid | 2553.82 | 0.31671 | 3.0689e-07 | 0.00018322
[6 empty] | 4 | 2-Centroid | 2879.69 | 0.16597 | -4.3195e-07 | 0.0592 | 8 | 3-FWHM | 11.295 | 0.78155 | -3.4614e-06 | -8.4196e-05
[6 empty] | 5 | 2-FWHM | 12.4515 | 0.35822 | -9.9857e-07 | 0.0092877 | 9 | 3-Counts | 453.462 | 27.0531 | -3.4194e-06 | 0.00018967
[6 empty] | 6 | 2-Counts | 1424.44 | 40.8498 | -6.2994e-07 | 0.0012232 | 10 | Intercept | 17.2708 | 2.6317 | -0.006838 | -4.5186e-07
[6 empty] | 7 | Intercept | 22.7292 | 0.11993 | -2.6652e-06 | -9.8663e-05 | 11 | Slope | -0.0033707 | 0.0010838 | 2.816e-06 | -0.0010049
[6 empty] | 8 | Slope | -0.0052848 | 4.1533e-05 | -3.8148e-10 | -0.83358
3_peaks_3500
[6 empty] | NO. | NAME | VALUE | ERROR | SIZE | DERIVATIVE
[6 empty] | 1 | 1-Centroid | 3487.34 | 0.55629 | 2.1003e-05 | 0.1701
[6 empty] | 2 | 1-FWHM | 11.8044 | 1.0325 | 0.00014665 | 0.0085083
[6 empty] | 3 | 1-Counts | 210.231 | 19.2092 | 0.00025748 | 0.013178
[6 empty] | 4 | 2-Centroid | 3944.1 | 0.39026 | 1.141e-05 | -0.067171
[6 empty] | 5 | 2-FWHM | 13.415 | 0.80949 | 0.00011365 | 0.011329
[6 empty] | 6 | 2-Counts | 387.392 | 23.2936 | 0.00023849 | -0.0084376
[6 empty] | 7 | 3-Centroid | 4351.87 | 0.34479 | 1.3346e-05 | -0.22847
[6 empty] | 8 | 3-FWHM | 19.3653 | 0.86183 | 0.00010194 | 0.0066587
[6 empty] | 9 | 3-Counts | 835.132 | 32.2508 | 0.00023285 | -0.0022086
[6 empty] | 10 | Intercept | 12.195 | 0.65885 | 0.0011838 | 0.0030062
[6 empty] | 11 | Slope | -0.0019207 | 0.0001651 | 2.9658e-07 | 11.774